## Slide 1
Fat and oil

## Slide 2
Title of experiment:
Determinatiom of acid value
Objective:
To determine the acid value of sample of
fat and oil.
Introduction and principle:
The major constituents of fats and oil are TAG.
Although some free f.as are also usually present and contribute to the acidity of the fat or oil.
These free f.as and any other acids which may be present, may be neutralized with KOH in the determination of the acid value,

## Slide 3
Acid value is defined as the no. of mg of KOH required to neutralize the free f.as in one gm of fats or oil.
The saudi STD for edible fats and oils indicate that the acid value must not exceed 0.6 mg KOH/1gm.

## Slide 4
Method:
1-weight 5 gm of sample.
2- dissolve the sample in 50 ml ethanol
3- titrate the mixture using 0.1M NaOH solution with ph.ph as indicator
4- acid value = 0.561* titre / weight of sample.

## Slide 5
Determination of S.G of fat and oil.
Objectives:
To determine the S.G of samples of fat and oil.
Introduction and principle:
The S.G of fat or oil is one of it’s characteristic physical properties.
All fat and oil have S.G of less than 1
Where S.G defined as:

## Slide 6
The density of the sample relative to density of water at the same temp.
Since, S.G is the temp.-dependant, it’s determination should be carried out at a specified constant temp. each time.
This is usually 40C for afat and 20C an oil.

## Slide 7
Method:
1- clean S.g bottle by shaking with acetone then ether.
2- weight empty S.G bottle.
3- fill the S.G bottle with the sample and cover it.
4- weight the fill S.G bottle.
5- repat using Dis.water in place of the sample.
6- calculate:
S.G = weight of the sample in S.G bottle / weight of water in S.G bottle.

## Slide 8
3-Determination of saponification value.
Introduction and principle:
The saponification value is the no. of the mg of KOH required to saponify one gm of an oil or fat.
The vast majority of f.as in neutral fat and oil are in ester linkage with glycerol in the form of TAG and may be liberated by hydrolysis at either acidic or alkali is termed ( saponification ).

## Slide 9
TAG + 3 KOH 3 alkali salt + glycerol

## Slide 10
On the other hand, vegetable oil and fat will
tend to have relatively low saponification
values, since the constituent TAG are
relatively rich in long chain f.as giving fewer mol. Per one gm of sample.

## Slide 11
Method:
Weight 2 gm of oil into glass flask.
2- add 25 ml of alcoholic KOH sol. And boil for 1 hour under a condenser, shaking the content of the flask at frequent intervals.
3- determine the excess of alkali by titration with HCL using 0.5 ml of the indicator
4- set a blank test upon the same quantity of KOH at the same time and under the same conditions.

## Slide 13
5- calculate:
Saponification value = 28.05 ( T1-T2 )/W
Where:
T1= vol. in ml of HCL required for testing the blank.
T2 = vol. in ml of HCL required for testing the sample.
W = weight of sample
Where W is the weight of the sample in gm and
28.05 is half of the m.w of KOH ( 56.05 ), since 0.5N acid was used in both titrations.