## Slide 1
General microbiology (311)
Introduction

## Slide 2: Basic microbiology
Types of microbes:
Bacteria.
parasite.
fungi.
virus.

## Slide 3: Can we see the micro-organism by naked eye ?
Some organisms can be seen by naked eye such as some types of fungi, but the most can’t be seen by naked eye.
The microscope is used to examine micro-organism.
Viruses cannot be seen by ordinary light microscope.

## Slide 4: Microbiology terminology:
Culture: A suitable environment that allows micro-organisms to grow.
Sterile: free of organism.
Autoclave: machine used for sterilization
Disinfectant: A chemical substance that inhibits or kills the organism.
Disposable: use once.

## Slide 5
Saline: 0.9% sodium chloride (Nacl) in water (H2o).
Ex. For each 100ml of water add 0.9 g Nacl.
What is the purpose of using saline?
To maintain the shape of the organism by Osmotic pressure.

## Slide 6
*it’s different when you prepare solid from liquid:
Solid Ex: .9% Nacl For each 100ml of water, add 0.9 g Nacl.
Liquid Ex: 5 % ethanol: 95 ml of water to 5 ml ethanol.
Solids will dissolve in water.

## Slide 7
Autoclave: sterilization
Sterilizing Cycle: temp 121°C
Time: 15-20 min
At 15 atmospheric pressure
ALL organisms will die at 121°C.

## Slide 9
Incubator: it will provide 37 C to help the organism to grow in the culture.( maintain same temperature as human body).
Microscope:
It magnifies very small objects with good resolution

## Slide 10: Item used in microbiology lab
Bunsen burner: Provide an area almost sterile.
Bacti burner:
Bacti cinerator:
Loop (Straight loop, Wire loop): to transfer the organism from place to another. Made of nichrome (heat up and cool rapidly). It should be sterile before and after used.

## Slide 11
Slides:
Plain slides: Used for wet preparation.
Frosted end slide: to label the slide, to know the upper side of the slide.
Cover slip: cover the smear on slide
Disinfectant jar: contains a disinfectant solution, which kills the organisms. It is used for the disposal of plastic labware such as used slides, pipettes.

## Slide 12
Pipette: to transfer certain amount of liquid from place to another.
Serological pipette: graduated pipette 1ml, 5ml, 15ml.
Pester pipette: unknown quantity.
Sterile container:
  Universal container: urine, sputum. It can hold up to 20ml
  Bijou bottle: 7ml
Autoclave bag: for disposal of contaminated plastic, labware.
Petri dish: to put the culture media in it. It can hold 25ml of media.

## Slide 13: The safety rules in microbiology lab
You should listen to the instructions given in the lab.
Wear lab coat. Knee length and it should be closed.
Wear gloves.
DON’T wear open shoes.
DON’T eat or drink in the lab.

## Slide 14
DON’T touch your face, hair when you are in the lab.
Wear mask when you are dealing with infectious organism.
Report to the instructor in case of accident.
Cover any cuts or burns on your skin.
DON’T mouth pipette.

## Slide 15
Sit, don’t stand in the lab.
Sterile everything you use in microbiology lab.
Don’t talk while working in the lab.
Rules of disposal.
Clean the area before and after work.
Wash your hands before you leave.