## Slide 1
بسم الله الرحمن الرحيم
140 micro
:Lab (2)
Sterilization
Notes: <number>

## Slide 2: Sterilization :
Process which makes things free of microbes .
Notes: <number>

## Slide 3: Things that can be sterilized :
Flasks
Beakers
Pipettes
Petri dishes
Notes: <number>

## Slide 4: Things that can be sterilized :
Apparatus
Clothes
Media
Needles
Notes: <number>

## Slide 5: There are 3 different sterilization principles:
  1- Heat sterilization
  2- Chemical sterilization
  3-Radiation sterilization
Notes: <number>

## Slide 6
There are 2 procedures depending on the tolerance of the material used:
Advantages: It is the simplest, most effective and inexpensive method.
  1- Heat sterilization
  1- Steam sterilization (Autoclaving) or wet .
  2-Dry heat sterilization
  (hot air oven).
Notes: <number>

## Slide 7
It includes autoclaves
Used to sterilize culture media, glassware etc.
Usually it operates at 15 lb/sq. inch steam pressure (121.5 C) for 30 min.
  1- Steam sterilization (Autoclaving) or wet :
Notes: <number>

## Slide 8
1- It includes oven.
After sterilization wrap them in aluminium foil to avoid recontamination.
  2-Dry heat sterilization
  (hot air oven) :
Notes: <number>

## Slide 9
Direct heat :
2- Needles and loops are sterilized.
Bunsen burners , flames
Notes: <number>

## Slide 10: There are 3 different sterilization principles:
  1- Heat sterilization
  2- Chemical sterilization
  3-Radiation sterilization
Notes: <number>

## Slide 11
  2- Chemical sterilization
50% Dettol
Ethylene oxide and formalin
Benches /tables
For sterilizing disposable materials (that can not tolerate high temperatures).
Notes: <number>

## Slide 12: There are 3 different sterilization principles:
  1- Heat sterilization
  2- Chemical sterilization
  3-Radiation sterilization
Notes: <number>

## Slide 13
Gamma rays,U.V Rays.
  3-Radiation sterilization
Notes: <number>

## Slide 14
Other sterilization techniques:
Filtration
Boiling
Cold temperature
Notes: <number>

## Slide 16: Thanks…
Shroog Al-Shahrani
Notes: <number>