## Slide 1
Lab # 1
Notes: <number>

## Slide 2: Sir Alexander Fleming (1881 –1955)
“One sometimes finds what one is not
looking for“ Penicillin
He observed inhibition of staphylococci on an agar
plate contaminated
by a Penicillium mold
Notes: <number>

## Slide 3: Antibiotics are:
Natural or synthetic products that are used to kill or stop the growth of Bacteria :
bacteriostatic - stop growth (don't kill)
bactericidal – kill
Notes: <number>

## Slide 4: Classification According to Mode of Action:
DNA
Ribosome
Inhibit protein synthesis
Notes: <number>

## Slide 5: Definitions:
Control strains:
  These are organisms obtained from the American Type Culture Collection (ATCC).
  They should be grown in standard conditions
  They have a known recorded sensitivity to antibiotics
Notes: <number>

## Slide 6: Definitions:
Muller Hinton Medium:
  It is a special media used for sensitivity testing, it dose not interfere with test results it has a:
    Standard PH
    Standard electrolytes
Notes: <number>

## Slide 7: Definitions:
Standard inoculum size:
  A standard concentration of bacterial cells to be inoculated.

## Slide 8: How to prepare standard inoculum size:
Standard inoculum should have turbidity equivalent to 0.5 McFarland standard.
Should be from a freshly overnight growth.
Notes: <number>

## Slide 9: McFaraland:
These are made by dissolving barium sulphate in water with different concentration.
0.5 McFaraland have a turbidity equivalent to 1x105
Notes: <number>

## Slide 10: Antibiotic Sensitivity Test
Method
1) Broth dilution
2) Agar diffusion (solid)
-a) Kirby-Bauer test (= disc test)
- b) Stock’s methods
Notes: <number>

## Slide 11: a) Kirby-Bauer Test (disc diffusion test) (Sold agar test)
Fresh organism suspended in broth.
(0.5 MaCfaraland standard)
Swab organism all over the plate evenly.
Place discs containing specified concentration of different antibiotics on the plate.
Notes: <number>

## Slide 12: Kirby-Bauer Test
Incubate 37C x 24hr
Measure diameter of Clear zone around the disc . (Inhibition zone)
Use tables to assess if zone size indicates
resistance or sensitivity to that antibiotic

## Slide 13: Kirby-Bauer Test (disc diffusion test)
Notes: <number>

## Slide 14: How to Streak the sensitivity plate
Immerge swab then remove excess by pressing against wall of tube
Do one line in the center of plate by swab then spread evenly
Add antibiotic disks using needle
Always work near flame to avoid contamination
Don’t put disk near the edge

## Slide 15: B) Stockes Method
Interpretation based on comparison between
zones seen with the test organism & those of the known sensitive control.
Q.C organism
Test organism
Antibiotic disk

## Slide 17: Results of Stockes Method
T > C or T = C  Sensitive
T< C  Resistance

## Slide 18
http://rfdp.seafdec.org.ph/publication/manual/antibiotics/chapter2.html

## Slide 20
Thank You
Notes: <number>