## Slide 1: Image Acquisition and Processing Hardware
By : Alanoud Al Saleh

## Slide 2: The major components are:
Analog-to-digital converter
Image storage
Image display
Image processor
Host computer
Digital-to analog converter

## Slide 3: Digitizer :
The analog signal is converted into digital form by the digitizer or analog-to-digital converter (ADC).

## Slide 4: Image memory:
The digitized image is held in storage for further processing. Several components are connected to the image store and provide input and output.
The size of the memory depends on the image. For example, a 512x512x8 bit image requires a memory of 2,097,152 bits.

## Slide 5: Digital-to-analog converter (DAC):
The digital image held in the memory can be displayed on a television monitor. However, because monitors work with analog signals, it is necessary to convert the digital data to analog signals with DAC

## Slide 6: Internal image processor:
It is responsible for high-speed processing of the input digital data.

## Slide 7: Host computer:
In digital image processing, the host computer is a primary component capable of performing several functions.
For example: The host computer can read and write the data in the image, store and provide it for archival storage on tape or disk storage systems.

## Slide 8: Host computer:
The host computer plays a significant role in applications that involve the transmission of images to another location, such as medical imaging.

## Slide 9: Digital image processing:
A number of imaging modalities in radiology use image processing techniques, including digital radiography and fluoroscopy, nuclear medicine, magnetic resonance imaging, ultrasound and computed tomography.

## Slide 10: Digital image processing:
The future of digital imaging is promising in that a wide variety of applications have received increasing attention such as 3D imaging.

## Slide 11: Essential image-processing operations used in digital imaging technologies
The major image processing operations in medical imaging that are now common in the radiology department are:

## Slide 12: 1. Digital subtraction angiography (DSA):
Processing operation:
Subtraction of images out of a sequence, analytic processing.
Objectives:
Immediate display of subtraction images, evaluation of perfusion and/or blood flow, removal of artefacts arising from patient movement, extraction of physiologic data, contrast enhancement.

## Slide 13: Before and After Subtraction DSA

## Slide 14: 2. Computed tomography (CT):
Processing operation:
Level of window adjustment, image comparison, magnification, region of interest processing, reconstruction of perpendicular slices.
Objective:
Display of very large contrast range, display adaptation to human observer, image reformation

## Slide 15: CT Images

## Slide 16: Magnetic resonance imaging (MRI):
Processing operation:
Level and window adjustment, image comparesion, magnification, image synthesis
Objective:
Adaptation to display to human observer, creation of new images showing tendency on T1, T2, local density and flow

## Slide 17: MRI Brain Images

## Slide 18: Brain Images (MRI&MRS)

## Slide 19: Ultrasound imaging:
Processing operation:
Processing of image sequences, filtration.
Objective:
Display quality, extraction of physiologic data

## Slide 20: Ultrasound Kidney Images
Doppler

## Slide 21: Digital radiography:
Processing operation:
Modification of display parameters using contrast reproduction curve, spatial filtration, selection of a sequence of basic images.
Objective:
Display optimization harmonization of image, extraction of quantitative or semi quantitative information.

## Slide 22: Digital images

## Slide 23: Nuclear imaging:
Processing operation:
Processing of image sequences, slice reconstruction, filtration, quantitative processing.
Objective:
Display quality, tomography, extraction of physiologic data.

## Slide 24: Gamma Camera Image

## Slide 25: PET Filtered Image

## Slide 26
Thank
you