## Slide 1: Bacterial count

## Slide 2: Total bacterial count
It determines the No. of both living and dead bacteria.
Such as:
1- Nephelometric method
2- Counting chamber method

## Slide 3: Nephelometric method
Turbidity:
Bacterial growth makes solution “turbid”. Particulate objects such as bacteria will scatter light, The amount of scattering is proportional to cells number.
Use Nephlometer to determine the amount
of light scattered by a suspension of cells.

## Slide 5: Counting Chamber method

## Slide 6: Viable bacterial count
It determines the No. of living bacteria only.
The common methods:
1- Pour plate method
2- Spread ( surface) method
3- Miles and Misra method

## Slide 7: Pour plate method
Dilution:
Because of the huge number of bacterial colonies and their small size, counting the number of bacteria in a sample can be difficult. bacterial samples must be diluted considerably to obtain reasonable counts.

## Slide 8
For nearly all environmental samples, a dilution step is needed:
• e.g. 1 ml of surface water contains 106 cells/ml
spread 1 ml per plate: 1,000,000 colonies too high, would fill surface.
0.1 ml per plate= 1,000 colonies countable
0.001 ml per plate= 100 colonies countable, but volume too small to measure accurately

## Slide 9: Serial Dilutions of the Sample
If we take one ml of the original sample and add it to 9 ml of sterile water, it will give 1:10 or 10-1 dilution of original sample, i.e. the original sample has been diluted to 1/10th. Similarly we may prepare 1:100 (10-2), 1:1,000 (10-3), 1:10,000 (10-4) and so on dilutions of the original sample.

## Slide 11: Principle of pour plate method
The sample should be diluted successively with sterile water. The agar medium is maintained in molten state at 45° c.
One ml of each dilution (-5,-6,-7) is added to each sterile an empty labeled Petri dish, Then pour 9 ml molten agar (45°c) into above Petri dish.
The contents are thoroughly mixed, and allowed to solidify. The dishes are incubated at suitable temperature 37c.
After few days 24-48hrs , different kinds of microbes grow as separate colonies. Colonies are counted .

## Slide 12: Pour plate method
Advantages :
Does not require previously poured plates
Less work, less risk of contamination
Anaerobes and facultative anaerobes grow within the agar
Disadvantages :
Heating could kill some organisms
Oxygen diffusion is not sufficient for obligate aerobes

## Slide 13: Spread method
Spread plating method
Place (0.1ml) of each dilution(-5,-6,-7) onto solid agar.
Spread with sterile glass or metal spreader.
Incubate (minimum 24 hrs, usually 48 hrs)
Colonies are counted

## Slide 15: Miles and Misra
Divide plate into 3 sections -5,-6,-7.
To each section ,deliver 1 drop of the corresponding dilution using Pasteur pipette. Do not throw the pipette after finishing, calculate using 1ml of water, how many drops are delivered of 1ml water.
Incubate the plate at 37c for 24 hrs.
# Colony forming units (CFU) = count of bacteria

## Slide 16
-5
-6
-7

## Slide 17: Calculation of Bacterial count
The aim is to calculate how many colony forming units (C.F.U.) of organism which present in the original sample.
X = N/D
X = number of bacteria N = number of colonies counted on a plate D = dilution factor (either 1, 10 or 100)

## Slide 18: Calculation of pour plate method:
100 colonies in 1ml of 10-6 dilution
X in 1 ml of original sample
X (no of bacteria in original sample)
X = 100 x 1/ 1 x 10-6
= 100 x 106 C.F.U/ ml
= 1 x 108 C.F.U/ml

## Slide 19: Calculation of spread plate method
50 colonies in 0.1ml of 10-6 dilution
X in 1 ml of original sample
x (no of bacteria in original sample)
x = 50 x 1/ 1 x 0.1x 10-6
= 50 x 10x 106 C.F.U/ ml
= 5 x 108 C.F.U/ml

## Slide 20: Calculation of miles and misra plate method
5 colonies in a drop of 10-6 dilution
X in 1 ml of original sample
Note:1 ml of Pasteur pipette= 40 drops
x (no of bacteria in original sample)
x= 5 x 40/ 1 x 10-6
= 200 x 106 C.F.U/ ml
= 2 x 108 C.F.U/ml