## Slide 1
Chapter 11
Notes: <number>

## Slide 2
Summary
The sinusoidal waveform (sine wave) is the fundamental alternating current (ac) and alternating voltage waveform.
Sine waves
Electrical sine waves are named from the mathematical function with the same shape.
Notes: <number>

## Slide 3
A wave is a disturbance. Unlike water waves, electrical waves cannot be seen directly but they have similar characteristics. All periodic waves can be constructed from sine waves, which is why sine waves are fundamental.
Summary
Notes: <number>

## Slide 4
Summary
Sine waves are characterized by the amplitude and period. The amplitude is the maximum value of a voltage or current; the period is the time interval for one complete cycle.
Sine waves
Example
The amplitude (A) of this sine wave is
20 V
The period is
50.0 s
A
T
Notes: <number>

## Slide 5
Summary
The period of a sine wave can be measured between any two corresponding points on the waveform.
Sine waves
T
T
T
T
T
T
By contrast, the amplitude of a sine wave is only measured from the center to the maximum point.
A
Notes: <number>

## Slide 6
3.0 Hz
Summary
Summary
Frequency
Frequency ( f ) is the number of cycles that a sine wave completes in one second.
  Frequency is measured in hertz (Hz).
Example
If 3 cycles of a wave occur in one second, the frequency is
1.0 s
Notes: <number>

## Slide 7
Summary
The period and frequency are reciprocals of each other.
Summary
Period and frequency
and
Thus, if you know one, you can easily find the other.
Example
If the period is 50 s, the frequency is
(The 1/x key on your calculator is handy for converting between f and T.)
20 kHz
Notes: <number>

## Slide 8
Summary
Sinusoidal voltages are produced by ac generators and electronic oscillators.
Summary
Sinusoidal voltage sources
Generation of a sine wave
A
B
C
D
When a conductor rotates in a constant magnetic field, a sinusoidal wave is generated.
When the conductor is moving parallel with the lines of flux, no voltage is induced.
When the loop is moving perpendicular to the lines of flux, the maximum voltage is induced.
Notes: <number>

## Slide 9
Generators convert rotational energy to electrical energy. A stationary field alternator with a rotating armature is shown. The armature has an induced voltage, which is connected through slip rings and brushes to a load. The armature loops are wound on a magnetic core (not shown for simplicity).
AC generator (alternator)
Small alternators may use a permanent magnet as shown here; other use field coils to produce the magnetic flux.
Notes: <number>

## Slide 10
AC generator (alternator)
By increasing the number of poles, the number of cycles per revolution is increased. A four-pole generator will produce two complete cycles in each revolution.
Notes: <number>

## Slide 11
Function generators
Function selection
Frequency
Output level (amplitude)
DC offset
CMOS output
Range
Adjust
Duty cycle
Typical controls:
Outputs
Readout
Notes: <number>

## Slide 12
Sine wave voltage and current values
There are several ways to specify the voltage of a sinusoidal voltage waveform. The amplitude of a sine wave is also called the peak value, abbreviated as VP for a voltage waveform.
Example
The peak voltage of this waveform is
20 V.
VP
Notes: <number>

## Slide 13
The voltage of a sine wave can also be specified as either the peak-to-peak or the rms value. The peak-to-peak is twice the peak value. The rms value is 0.707 times the peak value.
Sine wave voltage and current values
Example
The peak-to-peak voltage is
40 V.
The rms voltage is
14.1 V.
VPP
Vrms
Notes: <number>

## Slide 14
For some purposes, the average value (actually the half-wave average) is used to specify the voltage or current. By definition, the average value is as 0.637 times the peak value.
Sine wave voltage and current values
Example
The average value for the sinusoidal voltage is
12.7 V.
Vavg
Notes: <number>

## Slide 15
Angular measurements can be made in degrees (o) or radians. The radian (rad) is the angle that is formed when the arc is equal to the radius of a circle. There are 360o or 2 radians in one complete revolution.
Angular measurement
Notes: <number>

## Slide 16
Because there are 2 radians in one complete revolution and 360o in a revolution, the conversion between radians and degrees is easy to write. To find the number of radians, given the number of degrees:
To find the number of degrees, given the radians:
Angular measurement
Notes: <number>

## Slide 17
Instantaneous values of a wave are shown as v or i. The equation for the instantaneous voltage (v) of a sine wave is
Sine wave equation
where
Example
If the peak voltage is 25 V, the instantaneous voltage at 50 degrees is
Vp =
=
Peak voltage
Angle in rad or degrees
19.2 V
Notes: <number>

## Slide 18
Sine wave equation
A plot of the example in the previous slide (peak at 25 V) is shown. The instantaneous voltage at 50o is 19.2 V as previously calculated.
Notes: <number>

## Slide 19
Phase shift
where
 =
Phase shift
The phase of a sine wave is an angular measurement that specifies the position of a sine wave relative to a reference. To show that a sine wave is shifted to the left or right of this reference, a term is added to the equation given previously.
Notes: <number>

## Slide 20
Phase shift
Notice that a lagging sine wave is below the axis at 0o
Example of a wave that lags the reference
v = 30 V sin (  45o)
…and the equation has a negative phase shift
Notes: <number>

## Slide 21
Phase shift
Notice that a leading sine wave is above the axis at 0o
Example of a wave that leads the reference
v = 30 V sin ( + 45o)
…and the equation has a positive phase shift
Notes: <number>

## Slide 22
The sine wave can be represented as the projection of a vector rotating at a constant rate. This rotating vector is called a phasor.
Phasors
Notes: <number>

## Slide 23
Phasors allow ac calculations to use basic trigonometry. The sine function in trigonometry is the ratio of the opposite side of a right triangle to the adjacent side.
Phasors
Notes: <number>

## Slide 24
The position of a phasor at any instant can be expressed as a positive angle, measured counterclockwise from 0 or as a negative angle equal to   360.
Phasors
positive angle of 
negative angle of   360
phasor
Notes: <number>

## Slide 25
Angular velocity of a phasor
When a phasor rotates through 360 or 2 radians, one complete cycle is traced out.
The velocity of rotation is called the angular velocity ().
 = 2f
The instantaneous voltage at any point in time is given by
v = Vpsin 2f
(Note that this angular velocity is expressed in radians per second.)
Notes: <number>

## Slide 26
Frequently dc and ac voltages are together in a waveform. They can be added algebraically, to produce a composite waveform of an ac voltage “riding” on a dc level.
Superimposed dc and ac voltages
Notes: <number>

## Slide 27
Pulse definitions
Ideal pulses
Notes: <number>

## Slide 28
Pulse definitions
Non-ideal pulses
Notice that rise and fall times are measured between the 10% and 90% levels whereas pulse width is measured at the 50% level.
Notes: <number>

## Slide 29
Triangular and sawtooth waves
Triangular and sawtooth waveforms are formed by voltage or current ramps (linear increase/decrease)
Triangular waveforms have positive-going and negative-going ramps of equal slope.
The sawtooth waveform consists of two ramps, one of much longer duration than the other.
Notes: <number>

## Slide 30
Harmonics
All repetitive non-sinusoidal waveforms are composed of a fundamental frequency (repetition rate of the waveform) and harmonic frequencies.
Odd harmonics are frequencies that are odd multiples of the fundamental frequency.
Even harmonics are frequencies that are even multiples of the fundamental frequency.
Notes: <number>

## Slide 31
Harmonics
A square wave is composed only of the fundamental frequency and odd harmonics (of the proper amplitude).
Notes: <number>

## Slide 32
Summary
Oscilloscopes
The oscilloscope is divided into four main sections.
Notes: <number>

## Slide 33
Principles of Electric Circuits, Conventional Flow, 9th ed.
Floyd
© 2010 Pearson Higher Education, Upper Saddle River, NJ 07458. • All Rights Reserved
Notes: <number>

## Slide 34
Summary
Oscilloscopes
Vertical
Horizontal
Trigger
Display
Notes: <number>

## Slide 35
Sine wave
Alternating current
Period (T)
Frequency (f)
Hertz
Current that reverses direction in response to a change in source voltage polarity.
The time interval for one complete cycle of a periodic waveform.
A type of waveform that follows a cyclic sinusoidal pattern defined by the formula y = A sin .
Selected Key Terms
A measure of the rate of change of a periodic function; the number of cycles completed in 1 s.
The unit of frequency. One hertz equals one cycle per second.
Notes: <number>

## Slide 36
Instantaneous value
Peak value
Peak-to-peak value
rms value
The voltage or current value of a waveform at its maximum positive or negative points.
The voltage or current value of a waveform measured from its minimum to its maximum points.
The voltage or current value of a waveform at a given instant in time.
Selected Key Terms
The value of a sinusoidal voltage that indicates its heating effect, also known as effective value. It is equal to 0.707 times the peak value. rms stands for root mean square.
Notes: <number>

## Slide 37
Radian
Phasor
Amplitude
Pulse
Harmonics
The maximum value of a voltage or current.
A type of waveform that consists of two equal and opposite steps in voltage or current separated by a time interval.
A unit of angular measurement. There are 2 radians in one complete 360o revolution.
Selected Key Terms
The frequencies contained in a composite waveform, which are integer multiples of the pulse repetition frequency.
A representation of a sine wave in terms of its magnitude (amplitude) and direction (phase angle).
Notes: <number>

## Slide 38
Quiz
1. In North America, the frequency of ac utility voltage is 60 Hz. The period is
a. 8.3 ms
b. 16.7 ms
c. 60 ms
d. 60 s
Notes: <number>

## Slide 39
Quiz
2. The amplitude of a sine wave is measured
a. at the maximum point
b. between the minimum and maximum points
c. at the midpoint
d. anywhere on the wave
Notes: <number>

## Slide 40
Quiz
3. An example of an equation for a waveform that lags the reference is
a. v = 40 V sin ()
b. v = 100 V sin ( + 35o)
c. v = 5.0 V sin (  27o)
d. v = 27 V
Notes: <number>

## Slide 41
4. In the equation v = Vp sin  , the letter v stands for the
a. peak value
b. average value
c. rms value
d. instantaneous value
Quiz
Notes: <number>

## Slide 42
5. The time base of an oscilloscope is determined by the setting of the
a. vertical controls
b. horizontal controls
c. trigger controls
d. none of the above
Quiz
Notes: <number>

## Slide 43
6. A sawtooth waveform has
a. equal positive and negative going ramps
b. two ramps - one much longer than the other
c. two equal pulses
d. two unequal pulses
Quiz
Notes: <number>

## Slide 44
7. The number of radians in 90o are
a. /2
b. 
c. 2/3
d. 2
Quiz
Notes: <number>

## Slide 45
8. For the waveform shown, the same power would be delivered to a load with a dc voltage of
a. 21.2 V
b. 37.8 V
c. 42.4 V
d. 60.0 V
Quiz
Notes: <number>

## Slide 46
9. A square wave consists of
a. the fundamental and odd harmonics
b. the fundamental and even harmonics
c. the fundamental and all harmonics
d. only the fundamental
Quiz
Notes: <number>

## Slide 47
Quiz
10. A control on the oscilloscope that is used to set the desired number of cycles of a wave on the display is
a. volts per division control
b. time per division control
c. trigger level control
d. horizontal position control
Notes: <number>

## Slide 48
Quiz
Answers:
1. b
2. a
3. c
4. d
5. b
6. b
7. a
8. c
9. a
10. b
Notes: <number>