## Slide 1: Cls331,,,experiment (8):
Determination of serum urea

## Slide 2: Introduction:
Urea or carbamide is an organic compound with the chemical formula (NH2)2CO. The molecule has two amine (-NH2) groups joined by a carbonyl (C=O) functional group.

## Slide 3
Urea is the main end product of protein metabolism in the body, which takes place in the liver.
Normally cleared from the blood by the kidney into the urine. Diseases that compromise the function of the kidney often lead to increased blood levels of urea, as measured by the blood urea nitrogen (BUN) test.

## Slide 4: Principle:
Urea is hydrolized by the enzyme urease forming ammonia and carbon dioxide.
NH2 CO NH2 + H2O urease
NH3 +NH2 CO OH 2NH3 +CO2
NOTES:
Urease acts optimally at 55⁰c & PH (7-8)
Inhibited by ammonia & fluoride.

## Slide 5: o-Phthalaldehyde colorimetric method
The principle:
Urea + o-fhthalalehyde Isoindoline
Clinical significance:
urea in blood (uremia): diets with excess of proteins, renal diseases, renal obstruction and heart failure…

## Slide 6: End point procedure:
 | blank | Std. | sample
R1 (ml) | 1 | 1 | 1
STANDARD (µl) | ------------ | 25 | ---------------
Sample (µl) | ------------------ | ------------------- | 25
R2 (ml) | 1 | 1 | 1

## Slide 7
Mix and incubate 15 min. at 37⁰c.
Read the (A) at 510 nm.
Calculations;
Sample × 50 = mg/dl
(A) std.
Reference values: 15 – 45 mg/dl