## Slide 1: EXP.2 (Quantitative determination of Amylase activity)
Introduction:-
The purpose of this experiment is to study the enzyme amylase which is found in saliva. Amylase breaks down starch into the maltose as the end product.
estimate the amount of maltose by using a standard curve.

## Slide 2
Beer's law states that the absorbance is directly proportional to the concentration of a solution. If you plot absorbance versus concentration, the resulting graph yields a straight line.
C1× V1 = C2 × V2

## Slide 3: Principle
Maltose + alkaline dinitrosalicylic acid
Orange-red colour

## Slide 4: Procedure
Part (1): construction of maltose std. Curve:
Read the Abs at 520 nm.
 | Std.1 | Std.2 | Std.3 | Std.4
Maltose(1mg/ml) | 0.1 | 0.5 | 1.5 | 2
H2O | 1.9 | 1.5 | 0.5 | ---
Reagent(ml) | 2 | 2 | 2 | 2
10 mins., boiling water bath. And cool, |  |  |  | 
H2O (ml) | 6 | 6 | 6 | 6

## Slide 5: Part (2):
 | tube1 | tube2 | tube3
Phosphate buffer | 2.5 ml | 2.5 ml | 2.5 ml
Starch solution | 2.5 ml | 2.5 ml | 2.5 ml
NaCl (1%) | 1 | 1 | 1
Mix, incubate 10 mins at 37⁰c |  |  | 
H2O | 1 | 0.5 | 0.5
Diluted saliva | --- | 0.5 | 0.5
NaOH | ---- | ---- | 0.5
1&2 incubation15 mins, 37⁰c |  |  | 
NaOH | 0.5 | 0.5 | ----
Reagent | 0.5 | 0.5 | 0.5

## Slide 6
Mix, heat in boiling water for 5 mins.
cool it at R.T
add 2 ml H2O
Read Abs at 520nm.