## Slide 1: Gel filtration chromatography
http://higheredbcs.wiley.com/legacy/college/voet/0471214957/animated_figures/ch05/f5-6.html

## Slide 2
Gel filtration (chromatography), is also known as molecular sieve chromatography.
Gel filtration chromatography separates molecules according to their size and shape.
The stationary phase consists of beads containing pores that span a relatively narrow size range.

## Slide 3
Smaller molecules spend more time inside the beads than larger molecules and therefore elute later (after a larger volume of mobile phase has passed through the column).

## Slide 4: Types of gels used
The gels used as molecular sieves are cross linked polymers.
They are uncharged and inert i.e. don’t bind or react with the materials being analyzed.
Three types of gels are used:

## Slide 5: Types of gels cont…
Dextran: is a homopolysaccharide of glucose residues.
it’s prepared with various degrees of cross-linking to control pore size.
It’s bought as dry beads, the beads swell when water is added.
The trade name is sephadex.
It’s mainly used for separation of small peptides and globular proteins with small to average molecular mass.

## Slide 6: Types of gels cont…
2. Polyacrylamide:these gels are prepared by cross linking acrylamide with N,N-methylene bis acrylamide.
The pore size is determined by the degree of cross-linking.
The separation properties of polyacrylamide gels are mainly the same as those of dextrans.
They are sold as bio-gel P. They are available in wide range of pore sizes.

## Slide 7: Types of gels cont…
3. Agarose: linear polymers of D-galactose and 3,6 anhydro-1-galactose.
It forms a gel that’s held together with H bonds. It’s dissolved in boiling water and forms a gel when it’s cold.
The concentration of the material in the gel determines the pore size.
The pores of agarose gel are much larger than those of sephadex or bio-gel p.
It’s useful for analysis or separation of large globular proteins or long linear molecules such as DNA

## Slide 8
The gel filtration material that will be used in the experiment below is called Sephadex G-75 and it will separate molecules with molecular weights from 3,000 to 70,000. Molecules with molecular weights larger than 70,000 will be excluded from the beads.

## Slide 9: volumes
For a Sephadex column, the total volume, Vt, is equal to the sum of the volume of the gel matrix, the volume inside the gel matrix, and the volume outside the matrix. The total volume is also , in most cases, equal to the amount of the buffer required to run a substance through the column (also known as eluting a substance) when the substance is small enough to completely penetrate the pores of the gel. Such a substance is said to be completely included by the gel. For Sephadex G-75, compounds with molecular weights less than 3000 are completely included

## Slide 10: cont... Volumes
The volume outside the gel matrix is known as the void volume, Vo. This is the volume required to elute a substance so large that it cannot penetrate the pores at all. Such a substance is said to be completely excluded by the gel. For Sephadex G-75, proteins with molecular weights greater than 70,000 are completely excluded.
The volume of buffer required to elute any given substance is known as the elution volume, Ve, of the compound.

## Slide 11: Advantages of Gel filtration
It’s the best method for separation of molecules differing in molecular weight because:
It doesn’t depend on temperature, pH, ionic strength and buffer composition. So separation can be carried out under any conditions.
There is very little adsorption
There is less zonal spreading than in other techniques.
The elution volume is related to the molecular weight

## Slide 12: Applications of gel filtration
Purification of enzymes and other proteins.
Estimation of molecular weight mainly for globular proteins:

## Slide 13: Estimation of molecular weight
To do this, several proteins with known molecular weights are run on the column and their elution volumes determined. If the elution volumes are then plotted against the log molecular weight of the corresponding proteins, a straight line is obtained for the separation range of the gel being used. If the elution volume of a protein of unknown molecular weight is then found, it can be compared to the calibration curve and the molecular weight determined.

## Slide 14
http://www5.gelifesciences.com/APTRIX/upp00919.nsf/Content/50C849D0D5B16BA0C1256E92003E865B

## Slide 15: Example
Consider the separation of a mixture of:
glutamate dehydrogenase (molecular weight 290,000),
lactate dehydrogenase (molecular weight 140,000),
serum albumin (MW 67,000),
ovalbumin (MW 43,000),
and cytochrome c (MW 12,400) on a gel filtration column packed with Bio-Gel P-150 (fractionation range 15,000 - 150,000).
When the protein mixture is applied to the column, glutamate dehydrogenase would elute first because it is above the upper fractionation limit. Therefore it is totally excluded from the inside of the porous stationary phase and would elute with the void volume (V0). Cytochrome c is below the lower fractionation limit and would be completely included, eluting last. The other proteins would be partially included and elute in order of decreasing molecular weight.

## Slide 16: Notes on use of gel filtration chromatography
· The choice of matrix depends on the range of size of molecules to be separated and the goal of the separation. Different bead types have pores of different sizes.
· The matrix beads normally come in dry form and must be swollen before use. It is important not to use a magnetic stirrer when preparing the beads, or the beads can be fragmented. It takes several days to swell beads like the Sephadex that you will use today. One short cut, however, is to autoclave the solution. This causes the beads to swell more rapidly without damaging them.
· Never allow a gel filtration column to dry out. If it dries out, the column must be re-poured. It is crucial for good separation that the column be consistent from top to bottom (without any bubbles).

## Slide 17
Procedure
Add the sample to the top of the resin by allowing the solution to gently run down the wall of the column.
Place the effluent tube in the first test tube in the test tube rack (this will be fraction 1) and open the clamp.
Do not disturb the top of the resin. Allow the sample to enter the resin and then gently add a few drops of the NaCl. Allow NaCl to penetrate the column and then gently add NaCl to fill the column.
Collect fractions until all the colored material has eluted from the column. Close the clamp. Collect 3 mL of effluent in each tube. After 3 mL has been collected in the first tube (fraction 1), switch to the second tube (fraction 2) and collect the next 3 mL, etc.
Read the absorbance at 400 nm using NaCl as blank.
Record all your results in the table.
Plot a graph of absorbance at 400nm against fraction number.