## Slide 1: Microbiological Methods
Making Media
Pouring Culture Plates
Sterile Technique
Inoculating Plates and Culture Tubes
Use of a Plate Counter to Estimate Microbial Population Densities

## Slide 2: Culturing Microorganisms
There are two basic culture techniques used in microbiology:
  Liquid culture: bacteria, algae, and some fungi can be reared in culture tubes (test tubes) in a liquid medium.
    Liquid medium is best when you want to rapidly increase the concentration of the organism or when you want to grow motile cells.

## Slide 3: Culturing Microorganisms
There are two basic culture techniques used in microbiology:
  Culture Plates: Liquid medium is solidified using agar (agarose) and poured as a thin layer in the bottom of a culture dish (also sometimes called petri plate)
    Culture plates are used when you want to test (1) antibiotic sensitivity, (2) estimate culture concentrations from environmental samples, or (3) isolate individual colonies from environmental samples.

## Slide 4: Sterile Technique

## Slide 5: Sterile Technique
When culturing bacteria or other microorganisms, it is important to keep your work area as clean as possible.
This prevents the introduction of other microorganisms from the environment into your culture.
The techniques used to prevent contamination are referred to as sterile techniques.

## Slide 6: Sterile Technique
Start by washing your down your work or lab benches with a surface disinfectant. The most commonly used disinfectants for lab use are:
  10% bleach (recommended by the CDC)
  85% ethanol

## Slide 7: Sterile Technique (2)
Turn off any forced air heating or air conditioning units that create strong air current in your work area.
A small room or closet that can be closed off is worth the effort to set-up if you will be doing a lot of microbial culturing.
You can install a UV bulb in a fluorescent light fixture to surface sterilize your work bench if you have an enclosed area. Remember to leave the area when you turn on the UV light source!

## Slide 8: Sterile Technique (3)
All glassware should be cleaned and sterilized before you begin.
All pipettes, spatulas, and test tube (culture) racks should also be sterilized.
You can purchase sterile, disposable culture tubes, petri dishes, and pipettes to minimize the quantity of glassware that you have to sterilize.

## Slide 9: Sterile Technique (4)
Don’t forget to wash you hands after you finish cleaning and put on a pair of sterile disposable gloves before you begin.
Once your work area is clean, your hands are clean, and your glassware is clean and sterile, don’t contaminate the work area by placing “dirty items” such as pencils, pens, notes, or books in the sterile work area.

## Slide 10: Media Preparation

## Slide 11: Microbiological Media
The type of growth medium that you use is a function of the organisms that you want to culture. Use a reference book (there are many) to determine the type of medium that is best suited for your organism of interest.
Common media include Luria Broth (LB), Nutrient Agar, Potato-Dextrose Agar (PDA), Bold’s Basal Medium (BBM)….

## Slide 12: Luria Broth
Liquid Medium
10 g Bacto-Tryptone
5 g Bacto-yeast extract
5 g NaCl
Distilled H2O to 1 l volume
Adjust pH to 7.0
Sterilize for 45 minutes using autoclave or pressure cooker
Plate Medium
10 g Bacto-Tryptone
5 g Bacto-yeast extract
5 g NaCl
Distilled H2O to 1 l volume
20 g agarose
Adjust pH to 7.0
Sterilize for 45 minutes using autoclave or pressure cooker

## Slide 13: Luria Broth
Things to remember:
  The volume of media (liquid or plate) should be roughly ½ the volume of the container in which it is placed for sterilization realizing that the liquid expands under increased heat and pressure during the sterilization process.
  Estimate plate quantities (how many you need to make) as a function of 15-20 ml per plate.

## Slide 14
Assemble all of your chemicals in your work area before you begin.

## Slide 15
Accurately weigh each of the dry ingredients in your culture media.

## Slide 16
Add each dry culture medium ingredient to the culture flask.

## Slide 17
Add distilled (or deionized) water to make the correct volume. Heat AND stir (agar will burn if it is not stirred) until all of the ingredients go into solution. When the media boils, it is ready for sterilization.

## Slide 18: Media Sterilization

## Slide 19: Media Sterilization
There are two reliable methods used to sterilize microbial culture media:
  autoclave
  pressure cooker
When using an autoclave, use the “wet” setting for sterilizing liquids (flasks, bottles, culture tubes, etc), and use the “dry” setting when sterilizing empty containers, stoppers, etc.

## Slide 20: Media Sterilization (2)
All liquid media should be sterilized for a minimum for 45 minutes at high temperature and pressure. Autoclaves will cycle automatically, but if you use a pressure cooker, set a timer.
Remember not to tighten the cap or seal on any container; it will explode under high pressure and temperature!
Notes: <number>
Teachers, please note safety precaution regarding tightening lids on containers prior to sterilization.

## Slide 21
Sterilize for 45 minutes using the wet cycle (autoclave) or at maximum pressure in a pressure cooker. Remember to cover the top of the flask or jar with aluminum foil to prevent contamination when as the media cools.

## Slide 22
When using a pressure cooker, don’t over fill the cooker, and remember to weight your containers so they don’t fall over!
Notes: <number>
Commercial weights can be purchased from VWR, Fisher Scientific, or other supply companies. These specialized items are generally not available from Carolina Biological Supply or Wards Natural Science. You may be able to make weights in the welding shop from scrap metal.

## Slide 23
Sterilize at high temperature and pressure for 45 minutes before turning off the heat. Remember to allow enough time for the pot to heat up!

## Slide 24: Plate Pouring Tips
Line empty plates along the edge of the work bench.
Open the petri dish lid at about a 30-45° angle to allow the hot liquid to cover the bottom of the dish. The thermal current created by the hot media prevents bacteria and fungal spores from landing in your clean dish.

## Slide 25
Line your sterile petri plates along the edge of the table. Transfer hot media to a small sterile container and pour 15-20 ml of the plate media into each petri plate. The petri plate lid should be open slightly, but not completely open as this increases contamination.

## Slide 26: Plate Pouring Tips
As the plates are poured, move the filled plates to the back of the table until the plates cool and congeal.
Once the plates have cooled and the media is firm, store the plates media side-up (bottom) with the lid securely taped or the plates restacked in the manufacturer’s plastic sleeve.
To increase the shelf-life of the plates, store in a cool, dry environment until they are used (refrigerator).

## Slide 27: Inoculating Plates and Culture Tubes

## Slide 28: Inoculation of Culture Plates and Tubes
Use either disposable inoculation loops or a metal loop that can be heat sterilized to inoculate plates, slants, and liquid culture tubes.
If using a metal loop, be sure to cool the loop by touching the sterile cooled liquid media or the sterile culture plate before the placing the loop in your live culture. Failure to cool the loop will kill your active microbial cultures!

## Slide 29
If gas is unavailable in your lab area, you can modify a standard Bunsen burner to use camp stove propane containers as fuel.

## Slide 30: Inoculation of Liquid and Solid (Slant) Culture Tubes
Step 1: Remove the culture tube stopper or cap with one (do not set it down) and flame the mouth of the tube to surface sterilize the mouth. The heated tube surface will generate a thermal current that prevents contamination of the culture.

## Slide 31
Notes: <number>
Note that the culture tube cap is in the right hand as is the inoculation loop. The sterile culture tube is in student’s left hand. Use your dominant hand to hold the loop. DO NOT put the culture tube cap on the lab bench as this will potentially contaminate your new culture. It is not easy to hold the loop, culture tube, and cap without putting anything down on the bench. We suggest that you have your students practice this technique several times before using actively growing cultures that you want to keep sterile.

## Slide 32: Inoculation of Liquid and Solid (Slant) Culture Tubes
Step 2: Without setting any of the culture materials on the bench, place the sterile inoculation loop in the culture.
Step 3: Replace cap on the culture tube with the active microbes and put it in the test tube rack.
Step 4: Without setting the loop down, pick-up a sterile fresh culture tube with media with one hand, and remove the cap with the other hand.

## Slide 33: Inoculation of Liquid and Solid (Slant) Culture Tubes
Step 5: Flame the mouth of the clean culture tube.
Step 6: Place the inoculation loop containing the microbes in the fresh media and swirl the loop in the loop in the media to ensure even dispersal in the media.
Step 7: If using a solid media slant tube, follow steps 1-5 and then zig-zag the inoculation loop across the slanted surface of the solid media in the tube.

## Slide 34
Notes: <number>
Note that the culture tube cap is still in the student’s right hand while she holds the liquid culture tube with her left hand. She uses her dominant hand to place the loop in the sterile media.

## Slide 35: Inoculation of Liquid and Solid (Slant) Culture Tubes
Step 8: Flame the mouth of the newly inoculated culture tube and replace the cap.
Step 9: Place the culture tube in test tube rack.
Step 10: Repeat until all of the sterile tubes have been inoculated. Use a fresh disposable culture loop for each tube or flame the metal loop after each tube has been inoculated.

## Slide 36: Inoculation of Liquid and Solid (Slant) Culture Tubes
Step 11: Incubate the culture at the recommended temperature (check with your supplier for growth requirements). If using environmental samples, incubation at room temperature will avoid the accidental culture of human pathogens.
Step 12: Dispose of all culture materials in a biohazard bag and sterilize all old cultures before pouring out cultures and washing culture tubes. Disposable culture dishes should be melted in an autoclave or pressure cooker prior to disposal.

## Slide 37
Notes: <number>
Safety Note: Use orange biohazard bags to dispose of all solid waste (disposable loops, used gloves, old culture plates) associated with microbial cultures. These bags are engineered to take the heat and pressure of an autoclave without breaking so that contaminated materials are handled safely. Scientific supply houses also sell autoclave tape; this tape changes color or surface pattern when exposed to high heat and pressure. This tape can be used to remind you what has been sterilized and what needs to be sterilized prior to disposal.

## Slide 38: Inoculating Petri Plates
Step 1:Remove the culture tube stopper or cap with one (do not set it down) and flame the mouth of the tube to surface sterilize the mouth. The heated tube surface will generate a thermal current that prevents contamination of the culture.
Step 2: Without setting any of the culture materials on the bench, place the sterile inoculation loop in the culture.
Step 3: Replace cap on the culture tube with the active microbes and put it in the test tube rack.

## Slide 39: Inoculating Petri Plates
Step 4: Holding the petri dish lid at an 30-45° angle, work the inoculating loop from the outside of the plate toward the center in a zig-zag pattern that covers approximately 25% of the plate surface (think pie or pizza slice!).

## Slide 40
Notes: <number>

## Slide 41: Inoculating Petri Plates
Step 5: Turn the petri plate 90° to the right, dragging the inoculation loop through the last section of the plate, moving from the outside to the inside in a zig-zag motion.
Step 6: Repeat this process twice more until the entire plate surface is covered.
NOTE: If you are trying to isolate individual colonies, each turn of the dish will give you fewer microbes so that you can distinguish individual colonies.

## Slide 42
Notes: <number>
If you streak your plates correctly, the pattern should look like this on your plate.

## Slide 43: Use of a Plate Counter for Estimating Microbial Populations

## Slide 44: Serial Dilution of Environmental Samples or Commercial Cultures
Serial dilution techniques should be used in the estimation of microbial population sizes.
Serial dilution involves the use of a known amount (in ml or μl) in a known volume of liquid media.
A one in ten dilution is made in a new liquid culture tube, and this process is usually repeated several times. The resulting cultures are dilutions of 1/10, 1/100, 1/1000, 1/10,000, for example, of the original sample.
These cultures are plated on petri plates and incubated at the recommended temperature.

## Slide 45: Estimating Microbial Population Size
After the inoculated plates are incubated for the appropriate time period, the number of colonies per plate are counted.
Population estimates are obtained by multiplying the dilution factor by the number of colonies per plate. The resulting number is a rate (function) of the initial weight or initial volume used from the environmental sample or culture (per gram soil, per ml or μl of culture).

## Slide 46: Counting Plates
If a commercial plate counter is not available, you can Xerox 1 mm square graph paper and use it as a grid for colony counting. You would need to estimate the total surface area (in mm2) by counting the number of squares in a dish.
If using a commercial plate counter, touch each colony on the plate with the pen, and the cumulative number of colonies will appear on the display.

## Slide 49: Summary
Different media are used to culture microorganisms, be certain that you are using the appropriate media for your organism.
Always use sterile technique to prevent contamination.
Choose the type of media (liquid or plate) appropriate for your investigation or application.
Sterile liquid culture tubes and media plates can be prepared in advance and stored in the refrigerator for later use (2 weeks for liquid culture tubes, 2 months for media plates).

## Slide 50: Summary
Liquid culture tubes, solid slant tubes, and petri plates can be used to culture microbes.
Media and lab materials should be sterilized prior to use; an autoclave or a pressure cooker can be used in the sterilization process.
Serial dilution and plate count techniques are used to estimate microbial populations from environmental or commercial cultures.