## Slide 1: Demonstrated by: Daheeya AlEnazi daalenazi@ksu.edu.sa 3rd floor,office#110 office hour: wed 9-10
Introduction of CLS 333

## Slide 2
Course Description:
This is a required course in biochemistry for preparing a generalist in medical technology program. The course will provide a useful application of basic biochemistry along with physiological chemistry in developing an appreciation of the clinical significance of the tests, test methodology and interpretation of test results

## Slide 3
Carbohydrates
Proteins
Lipids
Liver function
Renal function

## Slide 4: Syllabus of CLS333

## Slide 5: Distribution of Marks
Reports | 4
Mid 1+ practical training | 6
Behavior +work | 2
Final practical lab | 13=10 theory+3 practical
total | 25 marks

## Slide 6: Lab tools:
Mostly we will use:
Micropipette.
Pipettes are used to accurately measure and dispense small volumes of liquid
How to Use a Micropipette: 1. Select the correct size micropipette and tips. 2. Dial the volume adjustment knob to set the proper volume in the digital volume indicator. 3. Place the tip securely on the micropipette. 4. Hold the micropipette vertically over the solution and push the plunger down to the first stop. 5. Insert the tip into the solution. 6. Slowly release the plunger and note that the solution is drawn into the tip.

## Slide 7
7. Look at the tip to be sure that you do not have bubbles in the tip.
8. Dispense the solution touching the tip to the side of the target container. Slowly depress the plunger to the second stop. Before releasing the plunger, remove tip from target container.
9. Be sure the tip is empty, then use the tip ejector to dispose of the tip into an appropriate disposal container.
Spectrophotometer
Test tubes

## Slide 8: Sample:
Serum is plasma without clotting factors; whereas plasma is the liquid component of blood.

## Slide 9: Vacutainer Tubes

## Slide 10
Test tubes usually have additives to make blood behave in specific ways until it can be tested. Some additives cause blood to clot, others prevent it from clotting. Different chemicals are used for different lab tests.
Tests requiring serum are drawn into a test tube containing a clot activator. The tube will then be centrifuged.

## Slide 13
Light Blue – for coagulation tests (i.e. when a person is taking blood thinners)
Red or yellow - for tests needing serum instead of whole blood or plasma**
Green - for some of the chemistry tests
Purple/Violet- hematology tests (CBC, ESR…)
Grey- for blood sugar tests

## Slide 15: Reports tips
1-Topic0.5
2-principle(Equations + comment)1
3-sample no#0.25
4-readings0.25
5-calculation1
6-N.R and comment for high or low values1

## Slide 16: Any Questions??