## Slide 1: Exp#3 AlBumin
Quantitative determination of albumin in serum using the bromocresol green (BCG) dye binding method.

## Slide 2
One of the most important serum proteins produced in the liver and It is protein that is water soluble
*Functions:
-Nutrition
-Regulation of osmotic pressure
-Bind and transport of bilirubin, steroids, fatty acids & Ca

## Slide 3: Clinical significance
:*Elevated serum albumin
-Associated with dehydration
-Skin lesions (ex. Dermatitis, burns, dehydration)
*Low serum albumin
-Malnutrition
-liver disease (Cirrhosis)
-Renal disease
-rheumatoid arthritis

## Slide 4: Principle
Albumin Bromocresol Green(BCG)
The result is converting the color to Green-blue complex.
The absorbance of the solution increases in direct proportion to the albumin concentration .
React with
Acidic PH
(Yellow-green)

## Slide 5: Procedure
Mix and allow to stand at RT for 15 min.
Adjust the wavelenght at 630nm and Read absorbance of all tubes within 60 min.
Test | Std | Blank | 
2.5 | 2.5 | 2.5 | Alb Rgt -ml
--- | 10 | --- | Std-µl
10 | --- | --- | Sample-µl

## Slide 6: Calculation
A Test X Conc.of Std(5 g/dl)= Alb in test(g/dl)
A Std
*Normal Range:
3.8-5.0 g/dl = 38-50 g/l

## Slide 7: Limitation
-Excessive hemolysis lead to increase Albumin
-Color Reagent has a reduced sensitivity to albumin in the presence of detergents and dioxane
-Ampicillin interferes with BCG methods.
-At a neutral pH and low albumin concentration, BCG will bind with some of the alpha and beta-globulins present in human serum.

## Slide 8: Electrophoresis patterns

## Slide 9: Normal pattern
Alb. α 1 α2 β γ