## Slide 1: Lab 3 ALT and AST
Daheeya AlEnazi
UDI KIT

## Slide 2: Quantitative Determenation of Alanine aminotransferase (ALT)
Test is typically used to detect liver injury.
It is often ordered in conjunction with aspartate aminotransferase (AST) or as part of a liver panel to screen for and/or help diagnose liver disease.
Although ALT is more specific to the liver than is AST.
ALT is often used to monitor the treatment of persons who have liver disease

## Slide 3: Signs and Symptoms of liver disease:
•Weakness, fatigue
•Loss of appetite
•Nausea, vomiting
•Abdominal swelling and/or pain
•Jaundice
•Dark urine, light-colored stool

## Slide 4: Principle
Alanine + Ketoglutarate ALT Glutamate + Pyruvate
Pyruvate + NADH + H+ LDH Lactate + NAD+ +H2O
The rate of decrease in NADH absorbance at 340nm is proportional to the ALT activity of the sample.

## Slide 5: Clinical significance
Hepatic disorders, high serum levels are found in hepatocellular disorder rather than on obstructive disorders.
Cardiac tissue contains a small amount of ALT activity but serum levels usually remain normal in AMI.

## Slide 6: procerdure
Mix, incubate at 37℃ for 1 minute and read the absorbance at 340 nm against D.W, and after 3 min read the absorbance
Calculation: ΔA/min x 1768= U/L of ALT
Normal Range: (ALT: at 37C)
Men up to 42 U/L
Women up to 32 U/L
WR-ml | 1
Sample-µl | 100

## Slide 7: Quantitative Determenation of Aspartate aminotransferase (AST)
Aspartate + ketoglutarate AST Glutamate+ Oxalacetate
Oxalacetate + NADH +H+ MDH Malate + NAD+
The rate of decrease of NADH absorbance at 340nm is proportional to the AST activity of the sample.

## Slide 8: Clinical significance
The AST found in highest conc. in heart muscle, liver and skeletal muscle.
Smaller amounts are found in kidney, pancreas and erythrocytes.
Clinical use:
myocardial infarction, hepatocellular disease, and disorders of skeletal muscles.

## Slide 9: procedure
Mix, incubate at 37℃ for 1 minute.
Read initial absorbance of the sample, start the the stopwach and read absorbances at 1 minute intervals thereafter for 2 minutes.
Calculate the difference between absorbances and the average absorbance differences per minute ( ΔA/min)
WR-ml | 1
Sample -µl | 100

## Slide 10: Calculations
ΔA/min x 1768= U/L of AST
Reference values: (at 37 C)
Men up to 37 U/L
Women up to 31 U/L