## Slide 1: Lab 7 Amylase
Quantitative determination of amylase in plasma or urine in kinetic method
Daheeya ALEnazi

## Slide 2: Principle
Principle Of Kit:
PNPG7 amylase PNPG3 + Maltotetrose
PNPG3 glucoamylase PNPG1 + Glucose
PNPG1 glucosidase P-Nitophenol+ glucose
The rate of increase of absorbance is proportional to the activity of enzyme

## Slide 3: Cont..
PNPG= P-nitro phenyl glycoside
*Amylase found in pancreas and salivary gland.
It is break down the polysaccharide into monosaccharide as this equation( General principle):
Starch amylase maltose + Glucose

## Slide 4: Clinical diagnosis
Elevation of enzyme in:
Acute or chronic pancreatitis.
It reflects biliary or gastrointestinal disease .
It is increase in salivary gland lesions such as mumps.
Amylase is the only enzyme seen normally in urine

## Slide 5: Procedure
WR -ml | 1
Incubate at 37 C for 5 min. | 
Sample-µl | 25
Incubate at 37 C for 90 sec then read Abs. at 405 nm. Continue read Abs. every 30 sec for 2 min. Calculate A/min. | 
WR -ml | 1
Incubate at 37 C for 5 min. | 
Sample-µl | 25

## Slide 6: Calculation and normal range
∆A/min X 4824 = activity of amylase U/L
Normal range:
16-108 U/L