## Slide 1: Chapter 7
RLL Design and Sequencing System

## Slide 2: Common industrial sequences
  A Sequential system is based:
    Either on a single path sequence of tasks
    Or on multi-paths
  In a single path system, tasks are performed sequentially, one after another
  In a Multi-path or parallel system, several tasks can be performed simultaneously in parallel

## Slide 3: Common industrial sequences

## Slide 4: Control signals
  Depending on the controlled system, control signals can be either sustain or non-sustain.
a+
a-
Non-sustain control signal:
There is a mechanical memory.
Sustain control signal:
There is no mechanical memory.

## Slide 5: Sequence charts
  To visualize the operation of switching systems, we use sequence charts, also called:
    Time-motion diagrams
    State diagram
    Bar charts
  They describe the step-by-step operation of sequential systems
  They are helpful to design RLL

## Slide 6
7.2 Design Using Sequencing Chart
Flip flop module
Output module
Sequencing chart

## Slide 7: CASCADE method
  The CASCADE method is a method to design RLL.
  This technique can be used to control the sequence of operations of a machine/process having either sustain or non-sustain control signals.

## Slide 8: RLL Design for non sustain control signals

## Slide 9: RLL Design for non sustain control signals
Use the CASCADE method to design an RLL for a single-path machine sequence and non-sustain control signals:

## Slide 10: RLL Design for sustain control signals
Use the CASCADE method to design an RLL for a single-path machine sequence and sustain control signals:
a+
a-

## Slide 11
RLL Design for sustain control signals

## Slide 12
7.3 RLL Design for Sequencing System Using CASCADE Methods

## Slide 13: Multi path/parallel path machine sequence
In multi-path sequences, the program proceeds as regular single path up to the completion of step(i).
At step(i), 2 parallel paths A and B are carried out simultaneously.
Path A has j steps, and path B has k steps; the j and k are not necessarily equal.
Only after completing both paths sequentially, the program continues with the next single-path step(i+1).

## Slide 14: Example
Multi path with
Non sustain control signal

## Slide 15: Path selection
Some machine sequences require selection of 1 path among many paths available
Each available path is a sequence.
A path can be enabled using external switches.
After step(i) is completed, either flip-flop YA1 or YB1 is set, depending on whether xp = 1 or 0, respectively.
Completion of either step Aj or Bk sets flip-flop Yi+1

## Slide 16: Example

## Slide 17: Bypass
Bypass = shortcut some operations
At the completion of step (i)
If input control signal xp =1, then the system goes through program steps from A1 to Aj , and continues with step (i+1).
If, on the other hand, xp = 0, then the system jumps directly from step (i) to step(i+1).

## Slide 18: Example
Xp=1; ( B+, B-)
G2 | G3
Xp=0; by pass
START, A+ , , A- .
G1 G4

## Slide 19: Repeat cycle
A repeat cycle is a machine sequence in which some steps are repeated.
At the completion of step Aj , if a selector switch xp = 1, then the system will continue with step i+1.
Otherwise, If xp = 0 , then steps A1 to AJ are repeated.
The cycle A1 to AJ will be repeated indefinitely until xp = 1.
This circuit is suitable for machine sequences to be repeated until a desired effect is achieved.

## Slide 20: Minimum number of groups in a repeat cycle
At least 3 flip-flops must be allocated for repeated machine steps.
If only one or two flip-flops were assigned for the repeated machine steps, they will simultaneously set and reset and multifunction would occur.
If the rule to divide the machine sequence into groups calls for only two groups to cover the repeated steps, a third ‘dummy’ group must be added.

## Slide 21: Example