## Slide 1: Chapter 12
Concrete Construction Part 3

## Slide 2: 12-4 REINFORCING STEEL
Concrete Reinforcing Steel
Placement of Reinforcing

## Slide 3: Concrete Reinforcing Steel
Concrete reinforcing steel is available as:
  standard reinforcing bars,
  spirals (for column reinforcing), and
  welded wire fabric (WWF).
Deformed bars -American Society for Testing and Materials (ASTM) standard sizes listed in Table 12-1.

## Slide 4: TABLE 12-1: ASTM standard reinforcing bar sizes

## Slide 5: Concrete Reinforcing Steel
Two marking systems are used to identify ASTM standard reinforcing bars, (Figure 12-28),
  the continuous line system and
  the number system.

## Slide 6: TABLE12-2: Steel wire data for welded wire fabric

## Slide 7: Placement of Reinforcing
reinforcing steel is used primarily to resist tension and thus prevent cracking or failure of the concrete member under tension.
  Since concrete is weak in resistance to tensile forces,
Tension may be induced by:
  shrinkage of concrete as it hardens,
  temperature changes
  bending and shear forces.
Typical placement of reinforcing steel in concrete structural members is illustrated in Figure 12-29.

## Slide 8: FIGURE 12-29: Placement of reinforcing steel. (Courtesy of Concrete Reinforcing Steel Institute)

## Slide 9: FIGURE 12-29: Placement of reinforcing steel. (Courtesy of Concrete Reinforcing Steel Institute)

## Slide 10: Placement of Reinforcing
Standard types and sizes of wire bar supports are illustrated in Figure 12-30.

## Slide 11
FIGURE 12-30: Wire bar supports. (Courtesy of Concrete Reinforcing Steel Institute)

## Slide 12: Placement of Reinforcing
Figure 12-31 illustrates the CRSI-suggested sequence for placing reinforcing steel in a deep, heavily reinforced concrete beam

## Slide 13: 12-5 QUALITY CONTROL
Common Deficiencies in Concrete Construction
Inspection and Testing

## Slide 14: Common Deficiencies in Concrete Construction
Adequate Quality Control must be exercised over concrete operations.
  to be obtained the required strength, durability, and appearance.
Quality control measures specifically applicable to formwork are described in Section 12-3.
Deficiencies in concrete construction practice may usually be traced to inadequate supervision of construction operations.
A review by the U.S. Army Corps of Engineers has produced a list of repetitive deficiencies observed in concrete construction.

## Slide 15: Inspection and Testing
The inspection and testing associated with concrete Quality Control may be grouped into five phases.
  mix design;
  concrete materials quality;
  batching, mixing, and transporting concrete;
  concrete placing, vibrating, finishing, and curing; and
  testing of fresh and hardened concrete at the job site.

## Slide 16: Inspection and Testing
Mix design includes:
  the quantity of each component in the mix,
  the type and gradation of aggregates,
  the type of cement,.
Aggregate testing includes:
  tests for organic impurities and excessive fines,
  gradation,
  resistance to scratch, and
  aggregate moisture.

## Slide 17: Inspection and Testing
Recent developments in concrete testing technology have greatly reduced the time required to obtain results from on-site testing of plastic concrete.
  For example, a nuclear water/cement gauge is now available which measures within 15 minutes:
    the cement content,
    water content, and
    water/cement ratio of plastic concrete.