## Slide 1: Exp#4 Cholesterol
Quantitative determination of total cholesterol in serum /plasma by enzymatic color/endpoint method

## Slide 2
Cholesterol is a fatty substance found in blood, bile and brain tissues.
It serves as a precursor to bile acids, steroids and vitamin D. The determination of serum cholesterol is a major aid in the diagnosis and classification of lipemias,hepatic and thyroid diseases
-High blood cholesterol is one of the major risk factors for heart disease.
-Major dietary sources of it cheese, egg yolks ,beef, fish, and shrimp

## Slide 3: Principle
The cholesterol present in the sample originates a colored complex, according to the following reaction:
Cholesterol esters + H2O Cholesterol + F.A
Chol+ O2 Cholestene-3-one + H2O2
2H2O2 + Phenol + 4-Aminoantipyrine Quinonimine( red color) +4H2O
CHE
CHOD
POD

## Slide 4
CHE= cholesterol esterase
CHOD= cholesterol oxidase
POD= peroxidase
This dye is proportional to the cholesterol concentration of Cholesterol in the sample
*Specimen:
Serum or heparinized sample

## Slide 5: Procedure
Test | Std | Blank | 
1 | 1 | 1 | Chol Rgt-ml
Pre-warm at 37 C for 3min then: |  |  | 
--- | 10 | --- | Std-µl
10 | --- | --- | Sample-µl
Mix and incubate at 37C for 10 min, then read A at 505 nm |  |  | 

## Slide 6: Calculation
A test X Conc. Of Std(200 mg/dl)= Chol (mg/dl)
A Std
*Normal Range:
Desirable…..<200 mg/dl
Borderline high…..200-239
High….≥ 240

## Slide 7: Interfering substance
Anticoagulants, such as fluoride and oxalate will result in false low values.
The test is not influenced by hemoglobin values up to 200 mg/dl or by bilirubin levels up to 10 mg/dl.
Interference from grossly icteric and heavily hemolysed specimens is correctable by use of a serum/ plasma blank.

## Slide 8: Limitation
This reagent is linear up to 500 mg/dl.
Samples with value of above 500 mg/dl should be diluted 1:1 with isotonic saline and re-run. Multiply the final results by two (2).
Grossly lipemic serums require a "sample blank". Add (10 µl) of sample to 1.0 ml saline, mix and read the absorbance against water