## Slide 1: QUANTITATIVE DETERMENATION OF GAMMA-GLUTAMYL TRANSFERASE ( ϒ-GT)
CLS 431

## Slide 2: Principle of the method
ϒ-Glutamyl-p-nitroanilide + Glycylglycine
ϒ-GT
ϒ-Glutamyl-glycylglycine + p-nitroaniline
Enzyme activity is proportional to the increase in absorbance of nitroaniline at 405 nm.

## Slide 3: Clinical significance
Found in the kidney, pancreas, liver, brain and prostate.
Used in the diagnosis and treatment of hepatobiliary diseases such biliary obstruction, cirrhosis or liver tumours.
Acute and chronic pancreatitis with biliary tract involvement.
Malignant neoplasm of liver and pancreas
alcoholism .

## Slide 4: Procedure
Wavelength ......................... 405 nm.
Cuvette ................................ 1cm. light path
constant tempreture .................. 25C
Pipette into a cuvette
Mix, wait for 30 seconds.
Read the absorbance against D.W. and start the stopwatch and read absorbance at 1 minute intervals thereafter for 2 minutes.
Calculate the difference between absorbance and the average absorbance differences per minute (Δ A/min)
WR(ml) | 1.0
Sample (µL) | 50

## Slide 5
Calculations
ΔA/min x 2121 = U/L of ϒ-GT
Reference values:
Men 6-28 U/L
Women 4-18 U/L