## Slide 1: Exp 8 Creatinine
Quantitative determination of creatinine in serum or heparinized plasma or urine by a colorimetric Kinetic method

## Slide 2: Definition
Creatinine an anhydride of creatine, is a waste product excerted by the kidneys &it’s is an important part of muscle.

## Slide 3: Creatine
Most of it is found in muscle tissues where it is present as creatine phosphate and serves as a high energy storage reservoir for conversion to ATP.
Independent of diet, serum creatinine concentrations depend almost entirely upon its excretion rate by the kidneys. For this reason its elevation is highly specific for kidney diseases

## Slide 4: Creatinine
Level of its vary according to a person's size and muscle mass.
Females usually have a lower creatinine than males.
Three types to measure glomerular Filtration Rate(GFR):
A)Blood creatinine level.
B)Creatinine clearance test (Levels of 24-hour urine creatinine are evaluated with blood levels as part of a creatinine clearance test.
C)Blood-urea nitrogen: creatinine ratio

## Slide 5: Clinical significance
Elevate creatinine level may be indicative of renal problems.
Low blood levels of creatinine are not common

## Slide 6: Principle
Creatinine + picric acid creatinine-picrate complex
The rate of formation of color is proportional to the creatinine concentration in the sample.
*specimen:
1. Serum, heparinized plasma or urine (dilute 50 times) i.e. 1ml urine + 49 ml water.
Alkali
Yellow-Orange

## Slide 8: Procedure
Test | Std | 
1 | 1 | W.R -ml
Prewarm at 25c,or 37c for 2 minutes and add: |  | 
--- | 100 | Std-µl
100 | --- | Sample-µl
After exactly 20 seconds read and record absorbance Al against D.W at 505 nm. At exactly 60 sec after the Al, read and record the absorbance A2 and determine ΔA. |  | 

## Slide 9: Calculation
Δ A sample X conc. Of Std 1.5mg/dl= Cr (mg/dl)
Δ A Std
Normal Range:
Serum
Male: 0.6-1.2 mg/dl
Female: 0.5-1.0 mg/dl

## Slide 10: Limitation
-Albumin at a concentration of 10.0 g/dl contributes 0.2 mg/dl to the creatinine value.
-Creatinine level will elevate with:
moderate hemolysis (0.2 g/dl Hgb) sample
grossly icteric sample
lipemic sample
-Acetoacetate above 10 mg/dl will interfere with the results