## Slide 1: Data analysis and basic statistics
KSU Fellowship in Clinical Pathology
Clinical Biochemistry Unit
2015 - 2016

## Slide 2: Objectives
Understand the main concepts of statistical data analysis.
Have a knowledge about the basic statistic techniques:
  Measures of location.
  Measures of variability.
  Hypothesis testing.
    Student’s t-test.
    Chi-squared test.

## Slide 3: Preface
This presentation focuses on the most common techniques for statistical data analysis.

## Slide 4: What does Statistics mean?
Statistics is defined as a science of collection, presentation, analysis, and reasonable interpretation of data.
Statistics has traditionally been used with two purposes:
  Summarize data so that it is readily comprehensible (Descriptive statistics).
  Draw conclusions that can be applied to other cases (statistical inference).

## Slide 5
The use of computers and their accompanying graphic programs have made it possible to obtain attractive and meaningful displays of data.

## Slide 6: A Taxonomy of Statistics

## Slide 7
Descriptive Statistics
  Frequencies
  Basic measurements
Inferential Statistics
  Hypothesis Testing
  Correlation
  Confidence Intervals
  Significance Testing
  Prediction
Describing a phenomena
How many? How much?
BP, HR, BMI, IQ, etc.
Inferences about a phenomena
Proving or disproving theories
Associations between phenomena
If sample relates to the larger population
E.g., Diet and health

## Slide 8: Measures of location
The mean:
  It is defined as the sum of all the observations divided by the number of observations.
  is used to denote the mean of a population; is used to denote the mean of a sample.

## Slide 9: Measures of location
The median:
  It is the number that divides the total number of ordered observations in half.
  For odd sample size number: the median is the middle observation of the ordered data. The median = (n+1)/n.
  For even sample size number: the median is the mean of the middle two numbers of the ordered data. The median = the mean of n/2 and (n/2)+1.

## Slide 10: Measures of location
Mean or median:
  The median is less sensitive to outliers (extreme scores) than the mean and thus a better measure than the mean for highly skewed distributions.
  Calculate the mean and median of the following values?
  20, 30, 40, 990
  Answer:
  Mean = 270.
  Median = 35. ✔

## Slide 11: Measures of location
The mode:
  It is the value of the variable that occurs frequently.
  It can determine the Skewness of the data.

## Slide 12: Measures of variability
These measure how spread out the data are.
e.g. Two distributions could have the same mean and look quite different.
Examples of variability measures:
  Variance.
  Standard deviation.
  Range.
  Coefficient of variance.
  Interquartile range

## Slide 13: Variance
Sample variance is defined as the sums of squares of the differences between each observation in the sample and the sample mean divided by 1 less than the number of observations (Why). It decreases as the sample size increases.
The population variance is denoted by sigma squared (σ2)
σ2 = Σ( - µ)2/N

## Slide 14: Standard Deviation (SD)
Sample standard deviation is the square root of the variance. It decreases as the sample size increases.
s = √S2
The population standard deviation is denoted by sigma (σ)
σ = √σ2 = √Σ( - µ)2/N

## Slide 15: Range
It is a measure of variation in data distribution, which is calculated by subtracting the smallest value from the largest value.
Unlike SD, the range tends to increase as the sample size increases.

## Slide 16: Coefficient of variance (CV)
It is a standardized measure of dispersion of a probability distribution or frequency distribution. It is also defined as the ratio of the standard deviation to the mean.
It is often expressed as a percentage.
CV =

## Slide 17: Interquartile range
Quartiles: Data can be divided into four regions that cover the total range of observed values. Cut points for these regions are known as quartiles.
In notations, quartiles of a data is the ((n+1)/4)qth observation of the data, where q is the desired quartile and n is the number of observations of data.

## Slide 18: Interquartile range
Q1 is the median of the first half of the ordered observations and Q3 is the median of the second half of the ordered observations.
The interquartile range is calculated by subtracting the Q3 from Q1 (Q3 – Q1).
Determine the interquartile range of the following numbers?
3 6 7 11 13 22 30 40 44 50 52 61 68 80 94

## Slide 19: Answer
In the previous question, Q1= ((15+1)/4)1 =4th observation of the data. The 4th observation is 11. So Q1 is of this data is 11.
3 6 7 11 13 22 30 40 44 50 52 61 68 80 94 Q1 Q2 Q3
Q1=11, Q2=40 (This is also the Median.) and Q3=61.
Inter-quartile Range: Difference between Q3 and Q1. Inter-quartile range of the previous question is 61- 40=21.

## Slide 20: Shape of data
Two measures of data shape:
  Skewness: measures asymmetry of data.
    Positive or right skewed: Longer right tail
    Negative or left skewed: Longer left tail

## Slide 21: Shape of data
Two measures of data shape:
  Kurtosis: measures peakedness of the distribution of data. The kurtosis of normal distribution is 0.

## Slide 22: The normal distribution curve
Features of the curve:
  Mean, median and mode are in the center.
  Bell-shaped curve.
  The probability a score is above or below the mean is 50%.
  Most of the scores are in the middle.

## Slide 23: Confidence intervals
It is a point of estimate to µ from the sample mean “plus or minus” the margin of error.
The commonly used confidence intervals are 90%, 95% or 99%, but 95% is the most one.
Standard error

## Slide 24: Z or t table to be used
Conditions for using “t”:
  σ is unknown.
  n < 30.

## Slide 25: Student’s t-test
A t-test is a hypothesis test of the mean of one or two normally distributed populations. Several types of t-tests exist for different situations, but they all use a test statistic that follows a t-distribution under the null hypothesis.

## Slide 26: t-test types

## Slide 27: Hypothesis testing steps
State null (H0) and alternate (H1) hypothesis.
Choose level of significance (α). Rejection (tails) regions
Find critical values. From z or t table
Find test statistic. Find z or t value
OR
Draw and write the conclusion. Reject or accept

## Slide 28: Example:
The average IQ for the adult population is 100 with a standard deviation of 15. A researcher believes this value has changed. The researcher decides to test the IQ of 75 random adults. The average IQ of the sample is 105.
Is there enough evidence to suggest the average IQ has changed?

## Slide 31: Answer:
State H0 and H1:
H0: µ = 100 , H1: µ ≠ 100
Choose level of significance: (2 tailed test), α = 0.05
Find critical values: z score = ± 1.96
Find test statistics: = = 2.89
Draw and write the conclusion:
Reject H0 and Accept H1.
1.96
-1.96
2.89

## Slide 32: Chi-squared test
Watch the video.

## Slide 33: Software
Microsoft Excel.
Graphpad Prism.
SPSS.
……etc.

## Slide 34: Links to the references
Basic statistics: A Primer for the Biomedical Sciences, Dunn and Clark, 4th edition.
Basic statistics overview ppt, Danielle Davidov, PhD.
Class 1 ppt Lecture.
Types of t-tests.
Math Meeting.
Chi-squared test video.
Note: to open each of the links above:
Place the cursor on any word of a reference.
Press the right click of the mouse.
Choose open hyperlink from the menu.