## Slide 1: Determination of blood glucose
Done by: Sahar Al-Subaie

## Slide 2: Redox titration:
Redox titration (also called oxidation-reduction titration) is one type of titration based on a redox reaction between the analyte and titrant.

## Slide 3: Principle:
Cu+2 + glucose ph Cu+ + (oxi)glucose
2Cu+ + I2 2I- + 2Cu2
I2
I2 I2
I2 + 2S2O32- Starch 2I- + S4O62- back titration

## Slide 4: The source of iodine:
It comes from acidic standard : Potassium iodide – Potassium iodate solution:
KIo3 + 5KI + 6H+ → 3I2 + 6K+ + 3H2o

## Slide 5: Procedure:

## Slide 6: Standardization of thiosulfate

## Slide 7: Analysis of sample :
Blank
Test

## Slide 8: Blank:

## Slide 9: Test:

## Slide 10: Titration:
Titrate with thiosulfate until the color change from brown to pale yellow.
Add one ml of 1% starch, the solution will turns to blue.
Continue the titration untill the blue color disappear(colorless)

## Slide 11: CALCULATION:

## Slide 12: Standardization of thiosulfate:
Normality of Thiosulfate = V ( Iodate Used )X N (Iodat)
V (Thiosulphate)
= 5 ml X 0.01 N = 0.0055 N
9 ml

## Slide 13: Analysis of sample(Unknown):
Meq I2 in Blank = N ThiosulfateX Volume of Thiosulphate used
= 0.0055 N X 13 ml
= 0.0715 meq
Meq I2 in Test = N Thiosulfate X Volume of Thiosulphate used
= 0.0055 N X 9 ml
= 0.0495 meq
Meq I2 ( reduced by Cu+) = Meq I2 in Blank - Meq I2 in Test
0.0495 - = 0.0715
= 0.022 meq
Meq I2 ( reduced by Cu+) = Meq Cu2+ ( reduced by glucose)

## Slide 14
Mg Cu2+ (reduced)= Meq Cu2+ ( reduced ) X 63.54 mg Cu2+
1 Meq Cu2+
= 0.022 meq X 63.54 mg
1meq
=1.397 mg
The percent glucose in the sample is obtained directly from (Table 1) using value for the mg Cu2+ reduced.
The percent glucose in the sample = 0.132 %