Exp. 2: Isolation of DNA from Mouse Liver

【Objective】

- To learn and understand the principles of DNA isolation.

- To become familiar with the procedures of DNA isolation from mouse liver and become able to prepare liver homogeneous.

- To learn the methods and techniques to determine the DNA quantity and quality, as well as the operation of the measurement apparatus.

【Principle】

In general, nucleosome is composed of DNA, RNA and proteins.  Therefore, in order to obtain pure DNA of interest, RNA and protein must be removed from the sample mixture.  Since the solubility of DNA-protein complex is lower in the NaCl solution of low concentration, DNA and RNA can be separated primarily by changing the NaCl concentration of the solution.  SDS, acting as an activating agent of anion, could break hydrogen bonds and hydrophobic interactions among proteins, and then directly associate with the hydrophobic parts of proteins.  Thus, SDS could denaturize and dissolve the proteins.

To separate DNA and proteins, chloroform-isopropanol (isoamylalcohol) mixture is added to the solution containing DNA and proteins, three layers could be observed in the test tube after centrifugation.  The top layer is the mixture of isopropanol and H2O, which contain DNA; the middle layer is the protein solution; and the bottom layer is the chloroform.  Transfer the top layer into another tube, and add moderately cold anhydrous alcohol.  To prevent DNA being from digested by nucleases, EDTA-2Na must be added to solution from the starting pint of the experiment.

【Experimental Materials】

- 0.14M NaCl

- 0.1M EDTA

- 5M NaCl

- 30% SDS

- Chloroform-isopropanol

- 0.015M NaCl - 0.0015M sodium citrate

- Cold anhydrous alcohol

【Procedure】

- Preparation of liver

Kill mouse to get 3 g of liver.  Scour off blood with 15ml 0.14M NaCl and 0.1M EDTA.

- Preparation of liver homogeneous plasma

(1) Slice the liver into small pieces in pestle;

(2) Add 15ml of 0.14M NaCl and 0.1M EDTA in the pestle;

(3) Grind up and down moderately to avoid destructing the DNA.

- Remove RNA

(1) Centrifuge the liver sample solution at 3000 rmp at room temperature for 10minutes to separate the phases, discard the supernatant.

(2) Add 15 ml of 0.14M NaCl, 0.1M EDTA into the precipitate.  Joggle slightly.

(3) Centrifugation the solution at 3000rmp for 10 minutes at room temperature again, discard the supernatant.

(4) Add 10 ml of 0.14M NaCl, 0.1M EDTA to dissolve the precipitate. Then transfer it to trivet flask of 50ml.

- Remove the proteins

(1) Add 1 ml of 30% SDS into the trivet flask, blend them well.  Put trivet flask in water bath at 60oC for 15 minutes (shake slightly).  Cool it down to the room temperature

(2) Add 2.75ml of 5M NaCl, jogging for 10 minutes at room temperature;

(3) Add 19 ml of chloroform-isopropanol (isoamylalcohol) (24:1) and incubate for 20 minutes (Don’t jolt violently after adding the chloroform-isopropanol or it will break up macromolecule), then transfer all the liquid in the trivet flask into a centrifuge tube. Centrifugation the solution at 2500rpm for 10 minutes at room temperature to separate the phases.

(4) Isolate DNA primarily

- Transfer the top layer (containing DNA) into a centrifuge tube.

- Add cold anhydrous 95% alcohol.  Its volume is 1.5 times of the total volume of the solution in the tube.  Shake the tube until silk-like DNA precipitates out.

- Test

(1) Transfer DNA to a test tube with forceps or glass rod, add 1ml of 0.015M NaCl - 0.0015M sodium citrate.

(2) Dilute to a suitable concentration: measure and get 10 to 50μl primary liquid, dilute by 100 to 500 times with 0.015M NaCl-0.0015M sodium citrate.

(3) Measure A260/A280 value (take 0.015M NaCl-0.0015M sodium citrate as control)

- Calculation

(1) DNA purity: A260/A280

Determine the purity of the isolated DNA based on the UV absorption of A260/A280.

If A260/A280 = 1.8, DNA of high purity;

if A260/A280 < 1.8, contain protein;

if A260/A280 > 1.8, contain RNA.

(2) DNA concentration: (μg/ml)= A260*50*extension rate

【Note】

Avoid your body to contact the organic solvent directly for it may be harmful to our body.

http://evoamazon.net/legal/index.php/protocols/laboratory/dna-extraction/dna-extraction-phenol-chloroform

REAGENTS

Diphenylamine reagent

Dissolve 1.0g of diphenylamine in 100mL of glacial acetic acid and add 2.75mL of concentrated H2SO4 reagent quality.

Standard nucleic acid solutions

DNA solution 1mg/mL

RNA solution 0.2mg/mL

0.1M KCl5%

TCA10%

TCA20%

Calibration Curve for DNA;  2mL of stock DNA was pipetted into a test tube and 1.5mL of 20% TCA solution was added.The mixture was heated in a boiling bath for 15minutes and left to cool to room temperatre for 2 minutes before cooling under the tap.

8 test tubes were set up accordingly with the following volumes of DNA-acid hydrolysate:To test tube 1, 0.1mL was added, to test tubes 2 and 3, 0.2mL was added, to test tube 4, 0.3mL was added, to test tubes 5 and 6, 0.5mL was added and to test tube 7, 0.8mL was added. The volume was then brought to 1mL using distilled water in each tube. 2mL of diphenylamine reagent was then added to each tube. A blank was prepared containing 0.7mL water, 0.3mL 20% TCA and 2mL of diphenylamine reagent.  All tubes were thoroughly mixed and boiled for 10minutes in a water bath. The tubes were then cooled and the absorbance of its contents measured at 600nm. A graph of Absorbance at 600nm against DNA content (mg) was plotted.

| Tube number | DNA-acid hydrolysate (ml) | H2O (ml) | Diphenylamine reagent | Boiling water bath | Absorbance at 600 nm |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.1 | 0.9 | 2 ml | 10 minutes |  |
| 2 | 0.2 | 0.8 |  |  |  |
| 3 | 0.3 | 0.7 |  |  |  |
| 4 | 0.4 | 0.6 |  |  |  |
| 5 | 0.5 | 0.5 |  |  |  |
| 6 | 0.8 | 0.2 |  |  |  |
| Blank | 0.3 ml of 20% TCA | 0.7 |  |  |  |
| Sample | 0.2 | 0.8 |  |  |  |
| Sample | 0.4 | 0.6 |  |  |  |