## Slide 1: DNA Extraction and Purification

## Slide 2: Lab Equipments
Automatic pipettes
Microcentrifuge
Vortex
Water bath
UV-spectrophotometer

## Slide 3: Lab Equipments
Eppendorf tube
Cuvettes
Tips
Rack- test tube
Rack- eppendorf tube

## Slide 4: DNA Extraction
Principle:
1. Lysis of nucleated cells.
2. Removal of contaminants: Any substance other than
DNA, e.g., proteins
3. Measurements: UV absorbance at 260nm and 280nm
Purity of DNA solution: 260/280 ratio
DNA concentration: Absorbance at 260nm

## Slide 5: DNA Extraction
Steps:
  Lysis of nucleated cells using lysis buffer.
  Binding of DNA to the membrane of spin column.
  Wash: using wash buffer.
  Elution of pure DNA

## Slide 6: Spin Protocol of DNA Purification from Blood

## Slide 9: Quantification of the purified DNA

## Slide 10: Measurements
  Measure the Absorbance at 260nm.
  Measure the Absorbance at 280nm.

## Slide 11: Measurements
  Assess the DNA purity: 260/280 ratio
  (Accepted ratio: 1.7 - 1.9)
  Calculate DNA Conc.: Provided A260 = 1.0, DNA is 50 μg/ml, unknown DNA Conc. can be calculated by cross multiplication
    A260 = 1.0 DNA conc. = 50 μg/ml
    A260 = 0.5 DNA conc. ?
    Note:- In case of diluting the eluted sample, multiplies the final concentration by the dilution factor. This can be adjusted by the spectrophotometer.
Done by the spectrophotometer

## Slide 12: DNA yield
  DNA Yield = DNA Volume x final DNA Conc.
  Example:
  If you have
  Volume of DNA solution: 200μl (0.2 ml)
  Final DNA Conc.: 30 μg/ml
  Then, the yield (μg) = 0.2 ml x 30 μg/ml
  = 6.0 μg

## Slide 13: DNA Applications
Purified DNA can be used for:
1. Molecular diagnosis of diseases.
(e.g., sickle cell anemia)
2. Forensic applications.
(e.g., paternity testing)
3. Molecular biology research.

## Slide 14
Molecular techniques using purified DNA:
a. Amplification techniques: Polymerase Chain
Reaction (PCR).
b. Southern blotting.
c. Restriction Fragment length polymorphism (RFLP).