## Slide 1: Enzymes
Lab # 9
224 PHL

## Slide 2: Determination of Serum Phosphatases Activity
Phosphatases are enzymes which catalyze the splitting of phosphoric acid from mono-phosphate esters.
They are hydrolases.
Organic phosphate esters + water alcohol + phosphate ion
Two types are commonly estimated in the serum :
  Alkaline phosphatase with maximum activity at pH10.
  Acid phosphatase with maximum activity at pH5.

## Slide 3: 1)Determination of Serum Alkaline Phosphatase (ALP ) Activity :
Occurrence: in most tissues of the body, mainly in:
    Osteoblasts in bone .
    Bile canaliculi in liver .
    Small intestinal epithelium .
    Proximal tubules of kidney.
    Breasts during lactation .
    In all these sites ALP seems to be involved in transport of phosphates across cell membranes.

## Slide 4
ALP is activated by Mg+2, Mn+2,Co+2.
ALP is inactivated by Zn+2,Cu+2,Hg+2,EDTA.

## Slide 5: Principle:
P-nitrophenylphosphate + H2O ALP Phosphate + p-nitrophenol.

## Slide 6: Procedure:
Pipette in to clean dry test tube 1 ml from working reagent
Put the test tube in the 37⁰C water bath “beaker”
Add 0.2 ml from the sample
Mix and put in the cuvette , and wait for 30 second
Record the absorbance at λ= 405 nm every 1 minute interval for 3 minutes
The absorbance of the sample: A⁰, A1, A2, and A3.

## Slide 7
Calculation:
The ALP activity (U/L) = (∆ A / min.) X 2720
= (A⁰ - A1)+ (A1 - A2)+ (A2 - A3)/3 X 2720
Normal value:
98 – 279 U/L

## Slide 8: Clinical significance:
Increase in ALP occurs mainly in:
1) Bone diseases like Paget’s disease (highest level), rickets, hyperparathyroidism, bone cancer.
2) Liver diseases like obstructive jaundice, biliary cirrhosis, carcinoma liver abscess.
3) Drugs producing cholestasis like androgens, sulfonamides.
or hepatotoxic drugs like aspirin, gentamycin, cyclophosphamide, and halothane .
Decrease in ALP occurs in: anemia, scurvy, and cretinism.

## Slide 9: 2-Determination of Serum Acid phosphatase (ACP )Activity :
Occurrence:
The highest concentration of ACP is found in prostate (prostatic ACP), also in RBCs, leucocytes and platelets (non prostatic ACP).
ACP has a maximum activity at pH5.6

## Slide 10
A variety of substrates have been used for determination of serum ACP activity . These include:
Nitrophenylphosphate-attacked by phosphatases of non-prostatic origin.
Β-Glycerophosphate, α naphthylphosphate, phenolphthalein monophosphate are all non specific substrates for both.
Prostatic Acid Phosphatase is obtained by subtracting the results of the Non-Prostatic Acid Phosphatase assay from the results of the Total Acid Phosphatase assay on the same sample.

## Slide 11: 2-Determination of Serum Acid phosphatase (ACP )Activity :
Principle:(ACP)
1-naphthyl phosphate + H2O ACP Phosphate + 1- naphthol
1-naphthol + 4-chloro-2-methylphenyldiazonium salt Azo dye.

## Slide 12: 2-Determination of Serum Acid phosphatase (ACP )Activity :
a)Determination of Serum Total Acid phosphatase Activity.
b)Determination of Serum Non-Prostatic Acid phosphatase Activity

## Slide 13: Procedure (Total ACP):
Pipette in to clean dry test tube 1 ml from working reagent (R2A)
Put the test tube in the 37⁰C water bath “beaker”
Add 0.1 ml from the sample , Mix and incubate for 5 minute at water bath
Put in the cuvette
Record the absorbance at λ= 405 nm every 1 minute interval for 3 minutes
The absorbance of the sample: A⁰, A1, A2, and A3.

## Slide 14: Procedure (Non-prostatic ACP):
Pipette in to clean dry test tube 1 ml from working reagent (R2B)
Put the test tube in the 37⁰C water bath “beaker”
Add 0.1 ml from the sample , Mix and incubate for 5 minute at water bath
Put in the cuvette
Record the absorbance at λ= 405 nm every 1 minute interval for 3 minutes
The absorbance of the sample: A⁰, A1, A2, and A3.

## Slide 15
Calculation:
Total ACP activity (U/L) = (∆ A / min.) X 743
= (A⁰ - A1)+ (A1 - A2)+ (A2 - A3)/3 X 743
Non-prostatic ACP activity (U/L) = (∆ A / min.) X 743
= (A⁰ - A1)+ (A1 - A2)+ (A2 - A3)/3 X 743
Prostatic ACP activity (U/L) = Total ACP activity - Non-prostatic ACP activity .

## Slide 16
Normal value:
Total ACP Up to 4.7 U/L.
Prostatic ACP Up to 1.6 U/L.

## Slide 17: Clinical Significance:
Prostatic ACP is used mostly to detect prostatic carcinoma when it may reach very high level. In benign hypertrophy of prostate ACP is normal.

## Slide 18
POP QUIZ

## Slide 19
1- An enzyme that transfer a group from one organic compound to another is called:
a) Lipase
b) Aminotransferase
c) Decarboxylase

## Slide 20
2- An enzyme that convert one pair of isomers into another is called:
a) Racemase
b) Pepsin
c) Ligase

## Slide 21
3- International unit (IU) is the amount of an enzyme that will
convert:
a) one milli-mole of substrate per minute in an assay system
b) one micro-mole of substrate per second in an assay system c) one micro-mole of substrate per minute in an assay system