## Slide 1: lab6 Gamma-glutamyl Transferase ( ϒ-gt)
Quantitative Determenation Of Gamma-glutamyl Transferase ( ϒ-gt) in serum or plasma by colorimetric method
Daheeya ALEnazi

## Slide 2: Principle
ϒ-Glutamyl-p-nitroanilide + Glycylglycine ϒ-GT
ϒ-Glutamyl-glycylglycine + p-nitroaniline
Enzyme activity is proportional to the increase in absorbance of nitroaniline at 405 nm.

## Slide 3: Clinical Diagnosis
ϒ-GT is elevated in:
Viral hepatitis
Chronic and active hepatitis
Cirrhosis of liver
Acute pancreatitis
Malignancy in liver or pancreas
Alcoholism
AMI and DM
Acute cholecystitis
NO clinical significance for the reduction of the enzyme.

## Slide 4: Procedure
WR -ml | 1
Sample µl | 50
Mix and incubate for 30 sec then read 1st absorbance at 405 nm. Read other absorbance for 2 min. intervals. Then calculate . | 
WR -ml | 1
Sample µl | 50

## Slide 5: Calculation and Normal range:
X 2121 = activity of ϒ-gt in U/L
Normal range at 25 C:
Men 6-28 U/L
Wemon 4-18 U/L