## Slide 1: Hemoglobin and anemia , hematocrit(HCT) and erythrocyte sedimentation rate (ESR)

## Slide 2
Hemoglobin structure

## Slide 3
Hemoglobin synthesis
The circulation blood of normal adult contain about 750 mg of hemoglobin and about 7 – 8 gm are degraded daily.
This amount has to be newly synthesized each day because:
The globin part of Hemoglobin can be reutilized only after catabolism into its constituent amino acid
The free heme is broken down into bile pigment which is excreted.
Iron alone is reutilized in the synthesis of hemoglobin.
The rate at which hemoglobin is synthesized and which red cell are formed are related to :
Oxygen content of the blood
Capacity of the blood to carry oxygen ,which in turn depend on the amount of circulating hemoglobin

## Slide 4
immature RBC Reticulocyte develop and mature in the red Bone marrow and then circulate for about a day in the blood stream before developing into mature red blood cells. Like mature red blood cells, reticulocytes do not have a cell nucleuses They are called reticulocytes because of a reticular network of ribosomal RNA that becomes visible under a microscope with certain stains such as new methylene blue

## Slide 5: Hemoglobin A

## Slide 6
Regulation of hemoglobin synthesis:
Erythropoietin : is formed in kidney in response to decrease oxygen carrying capacity (hypoxia or anemia), in order to stimulate the erythropoiesis
or hematopoiesis
*anoxia: means a total depletion in the level of oxygen an extreme form of hypoxia or "low oxygen

## Slide 7
Tissue hypoxia
Kidney secrete erythropoietin into blood
Increase erythropoiesis
Increase number of RBC
Increase oxygen carrying capacity
Return to homeostasis when oxygen deliver to kidney , this cause negative feedback inhibition to stop secrete of erythropoietin

## Slide 8
Hemoglobin catabolism:
In spleen the reticuloendothelial system that destroyed erythrocytes and hemoglobin is released.
Globin is separated from heme and haematin is formed (the iron oxidized to feeric iron Fe+3)
The porphyrin ring is then opened and the iron is removed with formation of straight chain compund biliverdin which is converted to bilirubine by reduction
The iron and amino acid of the globin are retained but pyrrole ring are excreted as bilirubin.

## Slide 9
The role of some factor affecting on the native of haemoglobin:
Vitamins
cofactors Deficiencies : such as biotin , coenzyme A and pyridoxal phosphate are essential for heme synthesis . The folic acid deficiencies can cause megaloblastic anemia .
trace metals : only copper and cobalt are known to play a role .(copper is playing a role in the absorption of iron while cobalt is essential constituent of vitamin B12(Cobalamin) )
** The causes which lead to deficiency of Vit B12?
Deficiency of cobalt or /and deficiency in intrinsic factor
4) Glucose -6-phsphatase dehydrogenase (G6PD) deficiency : G6PD is enzyme responsible for the conversion the glucose into pentose phosphate pathway to form 6-phosphogluconate , this pathway provide NADPH which use for produced reduced glutathione and for other reaction such as reduction methaemoglobin.

## Slide 10
Deficiency of G6PD lead to Decrease level of NADPH , and this lead to broken of RBC membrane then cause hymolysis

## Slide 11
Anemia :
Is in general decrease in number of RBC or less normal quantity of hemoglobin in blood leading to decrease oxygen binding capacity .
Causes:
Genetics
Acquired
Iron-Deficiency Anemia
Megaloblastic Anemia
RBC membrane Defect

## Slide 12
Iron-deficiency anemia:
Deficiency of iron is essentially due to blood loss with failure to replace the iron stores because of :
dietary deficiency or increase requirement or defective absorption all of this causes lead to decrease plasma iron .
Megaloblastic Anemia:
This may be due to deficiency of folic acid or cobalamins (Vit. B12)
RBC membrane defects:
In this condition there is a defect of the erythrocyte membrane and an abnormally in the sodium pumps.

## Slide 13
Low Hb. Indicating : anemia (mention all types of
anemia)
High Hb. Indicating : polycythemia vera (abnormally increasing of RBC)
Normal Hemoglobin conc. : 12 – 18 g/dl

## Slide 14
Principle:
The ferrouse (Iron II) in each heme in RBC is oxidized by ferricyanide to Fe(III)-methaemoglobin . A cynide group is then attached to the iron atom (because it is positively charge) by reaction with KCN to give the brown cyanmethamoglobin (stable)which can be estimated quantitatively
Estimation of blood haemoglobin:

## Slide 15
Pipette into clean dry test tubes
test | 
2 ml | Hemoglobin reagent
0.01 ml ( 10µl) | sample
Mix, allow to stand at room temperature for 3 min and read the absorbance at 540 nm against hemoglobin reagent | 

## Slide 16: Calculation
Hemoglobin Conc. In test =Absorbance of test x 29.4
Hemoglobin Conc. In test = g/dl
Normal Haemoglobin conc. : FOR men:14 – 18 g/dl
For women : 12_16 g\dl

## Slide 17: Erythrocyte sedimentation rate (ESR)
ESR is the rate at which RBC sediment in a period of one hour. It is a common hematology test, and is a non-specific measure of inflammation .

## Slide 18
ESR
anticoagulated blood is placed in an upright tube, known as a Westergren tube, and the rate at which the RBC fall is measured and reported in mm/h. (millimeter per hr)
**inflammation or Anemia changes the proteins in red blood cells causing them to bind to one another in clumps, making them denser than normal red blood cells.

## Slide 19: Method:
BY Westergren method: When anticoagulated whole blood is allowed to stand in a narrow vertical tube the RBCs – under the influence of gravity - settle out from the plasma. (mm/hr).

## Slide 20
Some interferences which increase ESR: | 
increased level of fibrinogen, gamma globulins. technical factors: tilted ESR tube, high room temperature. | 
Some interferences which decrease ESR: | 
abnormally shaped RBC (sickle cells, spherocytosis). technical factors: short ESR tubes, low room temperature, delay in test performance (>2 hours), clotted blood sample, excess anticoagulant, bubbles in tube. | 

## Slide 21
Average values in healthy men are: <15mm/hr; in healthy females, <20mm. The values are slightly higher in old age, in both genders.

## Slide 22: hematocrit HCT
The hematocrit is the percentage of blood composed of red blood cells.
People with a high volume of plasma (the liquid portion of blood) may be anemic even if their blood count is normal because the blood cells have become diluted.
Like hemoglobin, (reduce in HCT indicate for Anemia) a normal hematocrit percentage depends on age and gender.
Normal results vary, but in general are as follows:
Male: 40.7 - 50.3%
Female: 36.1 - 44.3%
Interpretation :
Low HCT cause of anamemia
High HCT cause of Polycythemia
Calculation :
HCT= Length of RBC colum
Total lengeth ofblood colum