## Slide 1: Introduction
Chemistry
Done by : SahaR al-Subaie
safety and some laboratory tools
2013 -2014

## Slide 2: Lab Safety
Ignorance of rules and regulations will
result in accidents to yourself and your
friends.

## Slide 3
Report any accident (spill, breakage, etc.) or
injury (cut, burn, etc.) to the teacher immediately, no matter how trivial it seems.
Do not panic.

## Slide 4
Never attempt unauthorized experiments.

## Slide 5
Keep work places clean and free of unwanted chemicals, biological specimens.

## Slide 6
Wear laboratory coats.
Wear gloves.

## Slide 7
Wear safety glasses at all times in the lab.

## Slide 8
Don’t wear open shoes.

## Slide 10
Face masks in case of a risk of dust from chemicals or an aerosol of microorganisms.

## Slide 11
Tie back long hair when working in the lab

## Slide 12
Do not eat or drink in the lab.
Do not use laboratory glassware as containers for food or beverages.

## Slide 13
Do not use lab refrigerator for food storage.

## Slide 14
weight disposable gloves should be worn during weighing and handling chemicals to avoid risk of absorption through the skin.

## Slide 15
Do not taste, or smell any chemicals.

## Slide 16
Do not use unlabeled bottle.

## Slide 17
Work only with materials once you know their flammability, reactivity, toxicity, safe handling and emergency procedures.

## Slide 18
Never pipette by mouth; use mechanical transfer devices.

## Slide 19
Do not mix chemicals in the sink.

## Slide 20
If a chemical was splashed in your eye(s) or on your skin, immediately flush with running water for at least 20 minutes.
Immediately (and loudly) yell out the teacher's name to get the teacher's attention.

## Slide 21
If you or your lab partner is hurt, immediately (and loudly) yell out the teacher's name to get the teacher's attention. Do not panic.

## Slide 22
Walk DON’T run in the lab.

## Slide 23
Keep exits and passageways clear at all times.

## Slide 24
Turn of gas, water before leaving.

## Slide 25
Wash your hands thoroughly before leaving the laboratory.

## Slide 26: Lab. Tools
Filter Flask
Volumetric Flask

## Slide 27
Beaker
Funnel

## Slide 28
Distilling Flask
Flask Erlenmeyer

## Slide 29
Micro Pipette
Pipette Aid
Measuring (Graduated) Pipette
Transfer (Plastic) Pipette

## Slide 30
Test Tube Brush
Test Tube Rack
Test Tube
Test Tube Holder

## Slide 31
Thermometer
Graduated Cylinder

## Slide 32
Ring Stand
Burette

## Slide 33
Spectrophotometer
Cuvette
Evaporating dish
Mortar and pestle

## Slide 34: Laboratory Signs and Symbols
Biohazard
Radioactive
Toxic
Oxidizing

## Slide 35
General danger
Explosive
Electrical hazard
Flammable

## Slide 36
Corrosive
Harmful