## Slide 1: INTRODUCTION TO SEROLOGY
SAFETY RULES
SEROLOGICAL REACTIONS
TERMS /ITEMS
CLS 414
Immunology Lab# 1
Fadiyah Alrusayyis
Alhanoof Alaydan

## Slide 2: GENERAL LABORATORY SAFETY PROTOCOLS AND RULES
Laboratory safety:
All students must read and understand the information of the laboratory safety and emergency procedures prior to the laboratory session
Your personal laboratory safety depends mostly on YOU

## Slide 3: TYPES
1- General and personal laboratory safety
2- Electrical safety
3- Chemical
4- Biological
5- Emergency response

## Slide 4: GENERAL LABORATORY SAFETY
1- Wear lab coat
2- Never eat or drink in the laboratory
3- Read labels carefully
4- Wear safety glasses or face shields
when working with hazardous materials
and/or equipment
5- Wear gloves when using any hazardous
or toxic agent
6- Clothing: sandals should not be worn in the lab at any time. Shoes are required, if you have long hair or l, make sure it is tied back

## Slide 5: GENERAL LABORATORY SAFETY
7- Keep the work area clear of all materials except those needed for your work
8- Extra books, purses, etc. should be kept away from equipment
9- Students are responsible for the proper disposal of used material if any in appropriate containers
10- Equipment Failure - If a piece of equipment fails while being used, report it immediately to your lab assistant or tutor. Never try to fix the problem yourself because you could harm yourself and others
11- Clean up your work area before leaving
12- Wash your hands before leaving the lab and before eating

## Slide 6: EMERGENCY RESPONSE
1- It is your responsibility to read safety and fire alarm posters and follow the instructions during an emergency
2- Know the location of the fire extinguisher, eye wash, and safety shower in your lab and know how to use them
3- Notify your instructor immediately after any injury, fire or explosion, or spill
4- Know the building evacuation procedures

## Slide 7: WHAT IS SEROLOGY
Is a branch of Immunology dealing with study of Ag –Ab interactions in Vitro by different serological tests.
Ag/Ab
Importance of Lab diagnosis:
1- Save patient’s life
2- Prevent spread of disease
3- Treatment therapy
4- Confirm clinical diagnosis

## Slide 8: LAB DIAGNOSIS OF INFECTIOUS DISEASES
1. Isolation and identification of causative agent by:
a. Morphological tests (microscopy)
b. Biochemical reactions
c. Cultural identification
d. Serological reactions
e. Biotechnology: PCR-DNA probe- DNA finger printing
2. Detection of specific Ab in sera of infected patients using serological techniques.
3. Diagnosis of other diseases or change of condition

## Slide 9: SEROLOGICAL REACTIONS
Primary 1: It measures the direct interaction between Ag and Ab in Vitro( test tube).
Example: Elisa, IFA, RIA tests.
Secondary 2 : It measures the consequences of interaction between Ag and Ab in Vitro.
Example: Agglutination, CFT, Precipitation, Neutralization tests.
Tertiary 3: It measures Ag and Ab interactions in Vivo ( in body).

## Slide 10: TERMS
Validity : A serological test should provide an indication of which individuals actually have the disease and which do not.
Specificity: ability of a test to identify correctly those who do not have the disease. ( have least cross reactivity)
Sensitivity: Ability of a test to identify correctly those who have the disease( can detect v. small amounts)

## Slide 11: EXAMPLE
Sensitivity : True positive rate of the test ( no false –ve )
Specificity: True negative rate of the test (no false +ve)
Test result Test result Total No
positive negative of people
Really have AIDS 99 1 100
Do not have AIDS 199 9701 9900
Totals 298 9802 10,000
Sensitivity =99/100 x100 = 99%
Specificity= 9701/9900x100= 98%

## Slide 12: TERMS
Quantitative test: It measures the amount of Ag or Ab.
Qualitative test : It detects the presence or absence of Ag or Ab.
Seroconversion: is development of detectable specific Ab to microorganisms in serum as a result of infection or immunization
Sero reversion : is the opposite of seroconversion .
This is when the test can no longer detect Ab or Ag in patient's serum.

## Slide 13: CRITERIA FOR DIAGNOSING
Primary infection
Seroconversion
Presence of IgM
Re-infection
Absence to slight increase of IgM
4 fold rise increase in IgG

## Slide 14: SERUM SEPARATION
What is serum ?
Serum :Blood- cells and clotting factors
Plasma : blood – cells
Separation:
Use plain tube ( no anticoagulant)
Leave blood for 1 hour at room temp.
Separate the clot
Centrifuge at 3000 rpm for 10 min.

## Slide 15: SERUM PRESERVATION
Aliquoting
Must aliquot the serum into different tubes to
avoid freezing and thawing(Why)
Keep serum in fridge at 4c for 1 day
Keep in freezer at -20c for more the 1 day.
Use frozen serum only once, discard after use.

## Slide 16: DISPOSAL OF SERUM AND CONTAMINATED LAB WARE
Dispose used patient serum tubes, microtiter plates universal tubes , bijou bottles in autoclave bags.
Dispose used serological pipettes, microtiter tips, slides in disinfectant jars.
Do not throw tissue , gloves, paper in disinfectant jars.

## Slide 17: IMPORTANT NOTES IN SEROLOGY
Serum must not be hemolyzed or contaminated.
Kits must be left 30 min at room temperature before using them.
Controls (+ve,-ve) must be used regularly.
Check expiration date of kits, diluents and reagents.
Kits even though are tested against HIV ,HBV must be considered biological hazards.
Before using any kit, read the instructions provided carefully.

## Slide 18: ITEMS
Micropipettes
Fixed volume /adjustable volume
Ejectable / non ejectable
Multichannel micropipette
Microtiter plates
U -bottom
V- bottom
Flat bottom

## Slide 19: DILUTION
It’s importance:
Used in different Lab procedures. It is important to dilute patient samples for serological tests
Makes Quantitative difference in what is going on.
Example: 1/10 or 1:10

## Slide 20: DILUTION
Dilution= Serum volume
Total volume
Total volume = serum volume + diluent volume
Serum volume=Total volume-diluent volume
Final Dilution= dilution of preceding tube x Serum volume
Total volume

## Slide 21: SERIAL DILUTION
Definition:
Serial dilutions are multiplicative
Doubling Serial Dilution:
It is a serial dilution.
It is a series of ½ dilutions.

## Slide 23: DOUBLING SERIAL DILUTION

## Slide 24: DOUBLING SERIAL DILUTION
1st dilution = 1 /2
2nd dilution = 1 /2 x 1 /2 = 1/4
3rd dilution = 1/4 x 1 /2 = 1/8
4th dilution = 1/8 x 1 /2 = 1/16
5th dilution = 1/16 x 1 /2 - 1/32
6th dilution = 1/32 x 1 /2 = 1/64
This results in a series of dilutions, each a doubling dilution of the previous one