## Slide 1
Experiment 8
Separation of proteins by
ion exchange chromatography
BCH 333[practical]

## Slide 2
Objectives:
1- The objective of this experiment is for students to learn the principles of ion exchange chromatography by separating the charged molecules using a salt gradient.
2- A practical experience on ion exchange chromatography in the laboratory
3- Importance of ion exchange chromatography and procedures in purification.

## Slide 3
4-Ion exchange chromatography (IEC):
- One of The most commonly used chromatographic method for protein purification.
-Its popularity stems from:
- The possibility of high resolution protein separation.
- The relative ease of use, reproducibility and availability.

## Slide 4
Principle:
Separation of molecules based on their charge.
-Stationary phase material:
is a resin or gel matrix beads with covalently bonded charged functional groups.
[charged beads].
The mobile phase: (buffered aqueous solution).

## Slide 5
Stationary phase

## Slide 7
Ion-exchange chromatography

## Slide 8
The stationary phase
carries ionizable functional groups coupled to an inert matrix material.
Because
of the principles of electroneutrality, these immobilized charges are electrostatically associated with exchangeable counterions from the solution.
So, the stationary phase surface displays ionic functional groups (R-X) that interact with analyte ions of opposite charge.
This type of chromatography is further subdivided into:
cation exchange chromatography.
anion exchange chromatography.

## Slide 9
-Cation exchange chromatography: retains positively charged cations because the stationary phase displays a negatively charged functional group.
[R-X- ]
-Anion exchange chromatography: retains negatively charged ions because the stationary phase displays positively charged functional group.
[R-X+ ]
Remember:
-The mobile phase: (buffered aqueous solution).
-Stationary phase material is a resin or gel matrix beads with covalently bonded charged functional groups. [differ from gel filtration chromatography].

## Slide 11
The retarded analytes (+ or -) retained on the stationary phase can be eluted by:
Increasing the ionic strength
By adding salts[e.g.NaCl ]
to compete with bound proteins .
[To bind to the charged beads]
-Using buffer that will cause the analytes having net charged same as the charge of the stationary phase, or neturant net charged.
Mobile phase

## Slide 12
At any given pH, proteins may have a range of charges, since each protein has its own characteristic pI.
-The charge on biomoleucles is related to the pH of the buffer:
At pH = pI [net charge is zero].
At pH higher than pI [negative charge].
At pH lower than pI [positive charge].

## Slide 13
1-Example for elution of the analyte by using salts [increase ionic strength]:
In cation exchange chromatography, to elute the positively charged analyte we could displace the positively charged analyte by the addition of the positively charged sodium ions of Nacl.
-The sodium ions[+] of Nacl, will compete with the analyte[+] to bind to the charged stationary phase[-].
-This will cause the elution of the analyte from the column.

## Slide 14
2-Elution of the analyte by using buffers:
at a given pH[dependent on the composition of the mobile phase. ], a protein will possess an overall net charge.
-At pH of buffer lower than pI of the analyte , the net charge will be more positive.
-At pH of buffer higher than pI of the analyte , the net charge will be more negative.
So, we can change the net charge of the analyte in a way that it will elute from the column if it has the same charge of the stationary phase, by using the suitable pH of the buffer and knowing the pI of the analyte.
Or by using buffer has pH that will cause the net charge of the analyte equal to zero[no charge], leading to the analyte to be eluted.

## Slide 15
-The pH at which the positive charges equal the negative charges (in other words, the net charge of the protein is zero) defines that protein’s isoelectric point (PI).
-For IEC, a good rule to follow when separating a protein whose isoelectric point is known is to select a working pH which is 1 unit away from the PI of the protein. At this pH, the protein will possess a high enough net charge to bind well to the ion exchange column.

## Slide 16
-The ion exchange principle permits the protein to bind even when a large buffer volume is applied, making this method especially useful for an initial purification step from a crude extract.
-Ion-exchange chromatography separates molecules based on their charged groups, which cause the molecules to interact electrostatically with opposite charges on the stationary-phase matrix.
Advantages:

## Slide 17
How does an ion exchanger bind protein?
Assuming that the protein possesses a net charge, an ion exchanger needs an opposite charge in order to bind that protein. Ion exchangers are typically composed of a charged (ion exchange) group attached covalently to an insoluble matrix. A positively charged group, such as DEAE (diethylamino ethyl), defines the matrix as an anion exchange matrix whereas a negatively charged group, such as CM (carboxymethyl) makes a cation exchange matrix.
DEAE: -CH2-CH2-N+H(CH2CH3) 2.
CM: - CH2 – COO-
Thus, if a protein has a negative net charge at a given pH, an anion exchange matrix should be used for its purification.

## Slide 19
Practical:
-You are provided with Cation exchange chromatography column, separate the sample given to you.
-The sample is a mixture of two proteins, myoglobin and cytochrom C,[pI=7.2 and 10.2 respectively] dissolved in phosphate buffer[pH=8]. Separate the mixture by using the buffer and 1M NaCl.
1-carefully remove the layer of the phosphate buffer from above the resin using a pasture pipette, and let only a very thin layer of buffer.
2- Again using the pasture pipette, very slowly layer the sample mixture solution on the top of the resin, by adding the tip of pipette on the wall of column. Care should be taken not to disturb the gel beads.
3- Open the screw clip, and start to collect the fractions of about 3 ml each.
4- After the sample mixture penetrates the gel so that you can see the gel beads, carefully fill up the column with the phosphate buffer [pH=8] , and complete the collection of fractions.
5-Collect the fraction of the first sample, and make sure that it is completely eluted.

## Slide 20
6-start adding the 1M NaCl to elute the second sample, and collect the fraction, then make sure that it is eluted completely.
7- Read the absorbance of each fraction at 410 nm by using spectrophotometer using phosphate buffer as blank for the fractions was collected by using the buffer to elute them, and use 1 M NaCl as a blank for the fractions was collected by using the salt.
8-plot the curve[absorbance at 410nm against fraction number].