## Slide 1: DNA Extraction
Done by :Sahar ALSubaie

## Slide 2: outlines:
Definition of DNA extraction .
Clinical Applications of DNA extraction
Samples of choice.
Criteria of DNA extraction methods
Good DNA quality
Concentration and purity measurements and calculations .
DNA extraction steps.

## Slide 3: DNA Extraction:
DNA Extraction is the removal of DNA from the cells.

## Slide 4: Clinical applications:
Diagnosis of genetic disease .
Forensic analysis.
Detection of bacteria and viruses in the environment.

## Slide 5: Kind of samples :
All living cells can be used to extract DNA.
Whole blood and blood spots as a first choice.
Fluid and chorionic villus sampling (CVS) for prenatal diagnosis (PND).
Buccal swab and hair follicles in forensics.

## Slide 6: Choice of sample depends on:
Amount of DNA needed for analysis.
The conditions and resources for collecting sample.

## Slide 7: DNA extraction Methods Criteria:
Safe
Simple
Inexpensive
Yield good DNA quality

## Slide 8: What does it mean to yield a good DNA quality?

## Slide 9: Good DNA quality
Concentration of DNA is sufficient for analysis.
Purity; no contamination, lipids, proteins and RNA.
Integrity; no DNA degradation

## Slide 10: DNA concentration:
Spectrophotometer method.
Nanodrop method.

## Slide 11: DNA concentration by Spectrophotometer:
Concentration (µg/ml)= (A260 reading – A320 reading) × dilution factor × 50µg/ml
N.B. turbidity is estimated at 320 nm and excluded .

## Slide 12: DNA Yield :
DNA Yield (µg) = DNA Concentration × Total Sample Volume (ml)

## Slide 13: When using a quartz rectangular standard cuvette the optical density at 260 nm (OD260) equals 1.0 for the following solutions:
a 50 μg/mL solution of dsDNA
a 33 μg/mL solution of ssDNA

## Slide 14: Example of Calculation:
A sample of dsDNA was diluted 50X. The diluted sample gave a reading of 0.7 on a spectrophotometer at OD260. determine the concentration of DNA in the original sample .

## Slide 15: Example of Calculation
dsDNA concentration = 50 μg/mL × OD260 × dilution factor
dsDNA concentration = 50 μg/mL × 0.7 × 50
dsDNA concentration = 1.75 mg/mL

## Slide 16: Purity of DNA:
Pure DNA preparations have an A260/A280 ratio of greater than or equal to 1.8.

## Slide 17: Purity of DNA:
For pure DNA and RNA the ratio is approximately 1.8 and 2.0 respectively.
If DNA is contaminated with proteins then the ratio will be < 1.8
If DNA is contaminated with RNA then the ratio will be > 2.0

## Slide 18: Purity of DNA:
Spectrophotometer method.
Nanodrop method.

## Slide 19: Purity of DNA:
DNA Purity (A260/A280) = (A260 reading – A320 reading) ÷ (A280 reading – A320 reading)

## Slide 20: Purity of DNA:
(Held, 2016)
(Held, 2016)

## Slide 21: DNA concentration an purity by Nanodrop:
Automatic measuring depending on spectrophotometer principle .

## Slide 22: DNA extraction steps:
Cell lysis :breaking the cells and to expose the DNA within.
Removing membrane lipids by adding a detergent.
Removing proteins by adding a protease
Precipitating the DNA with an alcohol usually ice-cold ethanol or isopropanol.

## Slide 23: References:
 Russell, Peter (2001). iGenetics. New York: Benjamin Cummings. ISBN 0-805-34553-1.
 Saenger, Wolfram (1984). Principles of Nucleic Acid Structure. New York: Springer-Verlag. ISBN 0387907629.
 Alberts, Bruce; Alexander Johnson, Julian Lewis, Martin Raff, Keith Roberts and Peter Walters (2002). Molecular Biology of the Cell; Fourth Edition. New York and London: Garland Science. ISBN 0-8153-3218-1. OCLC 48122761 57023651 69932405 145080076 48122761 57023651 69932405.
 Butler, John M. (2001). Forensic DNA Typing. Elsevier. ISBN 978-0-12-147951-0. OCLC 45406517 223032110 45406517. pp. 14–15.
 Mandelkern M, Elias J, Eden D, Crothers D (1981). "The dimensions of DNA in solution". J Mol Biol 152 (1): 153–61. doi:10.1016/0022-2836(81)90099-1.
 Watson J.D. and Crick F.H.C. (1953). "A Structure for Deoxyribose Nucleic Acid" (PDF). Nature 171 (4356): 737–738. doi:10.1038/171737a0.
 Berg J., Tymoczko J. and Stryer L. (2002) Biochemistry. W. H. Freeman and Company ISBN 0-7167-4955-6
Held, P. (2016) Nucleic acid purity assessment using A260/A280 ratios. Available at: http://www.biotek.com/resources/articles/nucleic-acid-purity-a260a280.html (Accessed: 27 August 2016).
Barbas, C.F., Burton, D.R., Scott, J.K. and Silverman, G.J. (2007) ‘Quantitation of DNA and RNA’, Cold Spring Harbor Protocols, 2007(11), p. 47. doi: 10.1101/pdb.ip47.
In-text citations