## Slide 1: Beaker
A beaker is a simple container, commonly used in many laboratories.
There are a variety of common sizes (50-, 100-, 250-, 600- mL and 1-liter). These beakers are made of clear, borosilicate glass for durability, chemical-, and temperature-resistance.
Used for:
storing, mixing pouring, and heating liquids.

## Slide 2: Flasks
Flasks: there are Many different types
1- Florence flask is a type of flask used as an item of laboratory glassware. it has a round body, a single long neck, and often a flat bottom.
2- Erlenmeyer Flask is a type of laboratory flask which features a flat bottom, a conical body, and a cylindrical neck.
Used for:
making solutions , holding, containing, mixing, heating, cooling, dissolving, precipitation, boiling (as in distillation), or analysis.
Florence flask
Erlenmeyer Flask

## Slide 3: Graduated cylinders
Graduated cylinders is a common piece of laboratory equipment
Used for:
measuring the volume of a liquid.
Read from the curve of the meniscus

## Slide 4: Reagent Bottles
Reagent Bottles are containers made of glass, plastic, borosilicate or related substances, and topped by special caps .
Use to store reagents:
Reagent: A substance used in a chemical reaction to detect, measure, examine, or produce other substances.

## Slide 5: Cuvette
A cuvette is a small square tube, made of plastic, glass, or fused quartz (for UV light) and designed to hold samples for spectroscopic experiments.

## Slide 6: Micropipette
Micro Pipettes are one of the most important tools for various procedures in a laboratory They are used to accurately measure and dispense small volumes of liquid.
The capacity of a micropipette can range from less than 1 µl to 1000 µl
Tips