## Slide 1: Lab 4 Alkaline Phosphatase(alp)
Quantitative determination of alkaline phosphatase in Serum or heparinized plasma by a colorimetric kinetic method.
Daheeya AlEnazi

## Slide 2: Diagnostic Significance
Highest elevation of alkaline phosphatase (ALP) levels in serum :
Hepatobiliary disorders and Bone disease.
Paget disease' (osteitis deformans).
bone cancer.
Normal ALP levels are age dependent and are elevated during periods of active bone growth.

## Slide 3
An increase of up to 2-3 times normal is observed In the third trimester of pregnancy. Moderate elevations of ALP (not Involving the liver or bone) may be attributed to 'hodgkins' disease, congestive heart failure, and abdominal bacterial Infections

## Slide 4: PRINCIPLE
p-Nitrophenylphosphate + H2O Alkaline PH p-Nitrophenol + phosphate
The increase of absorbance for P-nitrophenol is directly proportional to the amount of ALP present in the sample

## Slide 5: Procedure
Mix, incubate for 1 minute at 37 C
Read initial absorbance at405 nm of the sample, start the the stopwatch and read absorbance at 1 minute intervals thereafter for 3 minutes.
Calculate the difference between absorbance and the average absorbance differences per minute ( ΔA/min)

## Slide 6: Calculation
ΔA/min X 2720 = U/L of ALP
Reference values:
Men: 50 - 119 U/L
Women: 43 – 110 U/L