## Slide 1: Lab 5 Acid Phosphatase(ACP)
Quantitaive determination of acid phosphatase (Total, Prostatic and Non-prostatic) in serum by a-naphthylphosphate colorimetric kinetic method.
Daheeya AlEnazi

## Slide 2: Diagnostic Significance:
Non-specific acid phosphatase activity is widely distributed throughout the living world. This enzyme secreted by the human prostate gland has attracted most attention, because of its clinical importance.
Large elevations of prostatic acid phosphatase are found in cases of metastasized prostatic cancer acid phosphatase is also produced in other tissues, the prostatic isoenzyme must be distinguished from the non-prostatic for accurate diagnosis.
Elevated levels of non-prostatic acid phosphatase have been observed in patients with Paget's disease, hyperparathyroidism with skeletal involvement, and in bones cancer.

## Slide 3: Principle
a- Naphthy-lphosphate + H2O ACP a-Naphthol+ lnorg. Phos.
a-Naphthol+ Fast Red TR Diazo Dye (Chromopbore)
The colored complex which produced is absorbs light at 405 nm.

## Slide 4: Procedure

## Slide 6: Calculation
A-Total Acid Phosphatase activity (U/L) = ΔA/min x 853
B-Non-Prostatic Acid Phosphatase activity (U/L) = ΔA/min x 860
C-Prostatic Acid Phosphatase:
The value is obtained by subtracting the result of non-prostatic acid phosphatase assay (B) from the total acid phosphatase assay (A).

## Slide 7: Normal Value
Total acid phosphatase: 0.0 - 12 U/L
Prostatic acid phosphatase 0.0 – 4.0 U/L