## Slide 1: Lab2 Lactate Dehydrogenase
Quantitative determination of lactate dehydrogenase LDH
SPINREACT KIT
Daheeya AlEnazi

## Slide 2: Why do we use it?
LDH is an enzyme that helps the process of turning sugar into energy for your cells to use.
it is present in many kinds of organs and tissues throughout the body, including the liver, heart, pancreas, kidneys, skeletal muscles, brain, and blood cells.

## Slide 3: Types of LDH Isoenzymes

## Slide 4: principle
LDH catalyses the reduction of pyruvate by NADH:
Pyruvate+ NADH+ H+ LDH L-lactate+ NAD+
The rate of decrease in concentration of NADPH, measured photometircally, is proportional to the catalytic concentration of LDH present in sample.

## Slide 5: Clinical significance
When illness or injury damages your cells, LDH may be released into the bloodstream, causing the level of LDH in your blood to rise.
High LDH:
Liver disease, heart (MI), kidney diseae, skeletal muscle(musclur dystrophy) and erythrocytes(Anaemia)
Abnormally low LDH levels occur only rarely and usually aren’t harmful.
Clinical diagnosis should not be made on single test result.

## Slide 6: Procedure
Mix, incubate for 1 minute.
Read initial absorbance (A) of the sample at 340nm, start the stopwatch
And read absorbances at 1min intervals thereafter for 3 min.
Calculate the difference between absorbances and the average absorbance differences per minute (∆ A/min)

## Slide 7: Calculation
∆ A/min x 4925 = LDH U/L
Normal Range:
120-240 U/L