## Slide 1: Lab 2 QUANTITATIVE DETERMENATION OF LACTATE DEHYDROGENASE (LDH)
CLS 431 UDI KIT SEMI METHOD

## Slide 2: PRINCIPLE
lactate + NAD+ LDH Pyruvate + NADH + H+
the rate of increase in concentration of NADH, measured photo metrically, is proportional to the catalytic concentration of LDH present in the sample.

## Slide 3: CLINICAL SIGNIFICANCE
Highest activity found in heart, liver, kidney, skeletal muscle and erythrocytes.
Lesser activity is found in smooth muscle and brain.
Increased levels of the enzyme are found in cardiac, hepatic, skeletal muscle and renal disease.
Highest serum levels of LD are seen in pernicious anemia.

## Slide 4: SAMPLES
Mix, incubate for 1 minute.
Mix and incubate at 30℃ for 1 minute, then read absorbance every minute for 3 minutes against D.W.
Calculate the difference between absorbance's and the average absorbance differences per minute (Δ A/min)
WR (ml) | 1.0
Pre-warm at 30℃ for 3 minutes and add: | 
Sample μl | 25

## Slide 5: CALCULATIONS
Calculations
ΔA/min x 6592 = U/L of LDH
Reference values: at 37 C
80-285U/L male
103 – 227 U/L female