## Slide 1: PACS QC
By :
Alanoud Al Saleh

## Slide 2: Quality Control
What is PACS quality control ?
The PACS monitor quality control (QC) program
objectives are:
to ensure consistent display performance
identify problems before they become clinically significant.

## Slide 3: PACS main functional
PACS should allow the functional ability such:
distribute images to the requestor.
communicate to physicians for patient scheduling.
download patient demographics to modalities
track image location.
assemble collaborative material necessary to interpret the image.
keep track of patient progress and alert the
appropriate person(s)
pre-fetch images for interpretation.
automatically route images to predetermined physicians

## Slide 4: Why QC testing
(PACS) is prone to technical problems and operational shortcomings.
These problems are particularly challenging if a
newly implemented system is not installed properly,
or if demands on the system exceed expectations.
PAC systems are also extremely costly and often
widely integrated with the routine clinical operation..
Most such potential problems can be prevented if a complete acceptance testing is performed before the system is used clinically

## Slide 5: Why PACS quality control is important?
An important component of PACS is the display
workstations used to view the images.
Soft-copy display devices are prone to image
quality degradations that can effect image
perception and compromise the overall
effectiveness of diagnostic imaging.
Acceptance testing and routine quality control of
display devices using objective image quality
assessment methodologies can prevent potential
problems and assure that a loss of display quality
does not negatively impact diagnosis.

## Slide 6: Main objectives in PACS QC
To report the technical and operational factors of the performance of :
• various components of the system
• the integrated system as a whole
• methods for evaluating these factors

## Slide 7: The outcomes of PACS QC
The QC testing seeks to convey the following information:
Why, who, and how of PACS acceptance testing.
Technical and clinical phases of PACS acceptance testing.
PACS technical acceptance testing.
Elements of PACS clinical acceptance testing.
Tools and patterns for evaluation of display quality.
Definitions of display quality characteristics.
Criteria for acceptable display performance.

## Slide 8: When monitor test is required
If the qualitative assessment reveals any problems then clinical images are used to determine significance. The following CR image set will be used:
• Routine hand image
• Abdominal image
• PA chest
If artifacts appear in these test images, then the monitor must be repaired.

## Slide 9: PACS monitors check up (QC)
The majority of radiologic image interpretation is performed using a picture archiving and communication system (PACS).
PACS system is composed of workstations with cathode ray tube (CRT) and liquid crystal display (LCD) monitors.
These monitors must be maintained correctly in order to provide the clinician with an accurate image.
The performance standards of these monitors are defined in the DICOM standard and are termed the grey scale standard display function (GSDF).
In the clinical setting, it is important the PACS monitors are regularly checked. It is also important to ensure compliance with the QC program by developing a consistent evaluation process.
This policy defines the PACS monitor QC program that will be used.

## Slide 10: Image quality evaluation
The final evaluation step is to perform a qualitative assessment of the monitor.
This assessment is used to assess the following image components; squareness of image geometry, spatial stability of the image, and the presence of visual artifacts.
These components are important since each can
potentially affect clinical usefulness of the monitor.

## Slide 11: Problems with PACS in different hospitals such as:
users become dependent upon the technology and in some cases it can be very difficult to revert back to a film based system if components fail.
The need of the quality control procedures and the automatic notification system that alerts PACS personnel when a failure has happened or is anticipated.
problems ranging from people’s resistance to change
the training of personnel
vendor selection
vendor’s ability to give needed information on their products

## Slide 12: Any question?????
RAD 454 Course is Done.
Best wishes to all of you