## Slide 1: How Can I Measure Cardiac Output In A Patient With Shock?
Jon Sevransky MD
International Consensus Conference
Paris France
April 27, 2006

## Slide 2: How Do I Measure Cardiac Output In A Patient With Shock?

## Slide 3: Potential Methods To Measure Cardiac Output in Patients With Shock
Thermodilution
Pulse waveform methods
Esophageal Doppler
Bioimpedance
Echocardiography
Clinical Examination

## Slide 4: Systematic Review of Literature
Reviewed Medline, Embase, Selected References and Files from 1966 to April 2006
MESH Keywords Sepsis or Severe Sepsis or Septic Shock or Traumatic or Surgical Shock or Cardiogenic Shock
AND
Cardiac Output

## Slide 5: Inclusion and ExclusionCriteria
Inclusion Criteria
Human clinical trials
( At least)Two methods of comparing cardiac output
Patients with shock
  At least a subgroup with shock
  If majority of patients studied had shock, or had clinical values consistent with shock the study was included
Exclusion Criteria
No patients with shock
Unable to separate patients with shock
No comparison methodology
Comparison methodology not reproducible ( e.g survey)

## Slide 6: Rating Criteria
Number of Patients
Number of patients with shock
Patient Population
Whether shock diagnosis is defined
Cardiac Output Measurement Methods Compared
Statistical Analysis

## Slide 7: Spectrum Bias - Sensitivity
Sensitivity of a test changes as the composition of the case population changes, with different proportions of mild, moderate and severe cases.
Mod.
Mild
Normal
Test Value
Cutoff
Severe.

## Slide 8: Biases in diagnostic testing
Spectrum bias | Information bias | Measurement bias
Verification | Test-review | Imperfect gold-standard
Workup | Diagnostic review | Imperfect test reading
Selection | Incorporation | Context (prevalence)
 | Reading order | Outlier/no result

## Slide 9: Flowdiagram of Literature Search Results
2747 articles selected from Pubmed, Embase, file search and reference review
81 Abstracts Reviewed
72 Full Text Articles Retrieved
13 Articles Met Criteria
37 No Comparison Group
22 Not Shock Patients

## Slide 10
Studies Comparing Methods Of Measuring Cardiac Output in Patients With Shock

## Slide 11: Ideal Cardiac Output Monitoring Technique
Precise
No bias
Non-invasive
Readily available in the ICU
Leads to treatment changes/improvement in outcome

## Slide 12: Thermodilution
Advantages
Most Widely Used Measure of Cardiac Output
Low Cardiac Output correlated with mortality in multiple studies
Readily available in ICU
Disadvantages
Invasive with Potential Infectious/Mechanical Complications
Readings May Vary with Skill of Reader
Dynamic Variation Between Measurements
No Definitive Evidence that Use Improves Outcomes

## Slide 13: Studies Comparing Thermodilution with Other Methods Of measuring Cardiac Output In Patients With Shock

## Slide 14: Comparison of bedside measurement of cardiac output with the thermodilution method and the Fick method in mechanically ventilated patients
Gonzalez et al Crit Care 2003:7:171-8

## Slide 15: Comparison of bedside measurement of cardiac output with the thermodilution method and the Fick method in mechanically ventilated patients
Gonzalez et al Crit Care 2003:7:171-8

## Slide 16: Pulse Waveform Methods
Advantages
Less-Invasive Than Thermodilution
Real Time/ Repetitive Monitoring
Disadvantages
Needs Recalibration
Dependent on Compliance of Arterial Tree
Little Validation in Patients with Shock

## Slide 17: Reliability of a new algorithm for continuous cardiac output determination by pulse-contour analysis during hemodynamic instability
Godge et al Crit Care Med 2002;30:52-8

## Slide 18: Bioimpedance
Less Invasive
Can perform repetitive measures
Disadvantages
Not routinely available in the intensive care unit
Multiple competing methodologies
Little Validation in Patients with Shock

## Slide 19: Studies Comparing Bioimpedance with Other Methods Of measuring Cardiac Output In Patients With Shock

## Slide 20: Accurate, Noninvasive Continuous Monitoring of Cardiac Output by Whole- Body Electrical Bioimpedance
Cotter et al Chest 2004:125;1431-1440

## Slide 21: Echocardiography
Advantages
Non-invasive
Readily available in the ICU
Can provide other useful information
Disadvantages
Volume Measurement Dependent Upon Endocardial Visualization
Doppler Flow measurement less accurate if Aortic Regurgitation
Not validated in patients with shock

## Slide 22
2-D Method
Principle
Stroke volume= End diastolic volume – End systolic volume
LV volumes estimated by Simpson’s method, which is the summation of the volume of stacked cylinders within the LV at end-diastole and end-systole
150 ml - 52 ml= 98 ml

## Slide 23
Doppler Method
Principle
Flow (stroke volume)=Area * Velocity
CO=Stroke volume * Heart rate
Area of left ventricular outflow tract
Obtain LVOT dimension in parasternal long axis view
Simplified formula= (2.1cm)2 * 0.785
D=2.1 cm
3.46cm2
Flow Velocity at LVOT
Pulsed wave Doppler at LVOT in apical 5 chamber view
Velocity time integral 25 cm
25cm = 87 cm3
X

## Slide 24: Comparison of cardiac output measured with echocardiographic volumes and aortic Doppler methods during mechanical ventilation
Axler et al Intensive Care Medicine 2003;29:208:17

## Slide 25: Clinical Examination
Advantages
Readily available
Repetitive Measures
Several studies available to validate (Highest number in systematic review)
May allow differentiation of low from high
Disadvantages
Many different methods used
Provides dichotomous rather than continuous measure
Studies Use Suboptimal Statistical Methods

## Slide 26: Studies Comparing Clinical Examination with Other Methods Of Measuring Cardiac Output In Patients With Shock

## Slide 27: Capillary refill and core–peripheral temperature gap as indicators of haemodynamic status in paediatric intensive care patients
Tibby et al Archives Disease of Children1999:80:163-6

## Slide 28: Systematic Review Limitations
Did not include Foreign Language Publications
Systematic Review done by single person rather than group- possible introduction of bias
Excluding Studies of Techniques Tested in Other Critically Ill Patients May Unjustly Exclude Promising Methods Of Measuring Cardiac Output

## Slide 29: Summary
No gold standard for measurement of cardiac output in patients with shock
Most trials of cardiac output measurement devices identified by systematic review include heterogeneous patient populations and suboptimal statistical methodology
Most studies identified did not clearly define shock

## Slide 30: Summary
Cardiac output most often measured by thermodilution in ICU; most studies compare other methods with thermodilution
Clinical examination had the highest number of studies that met criteria of the systematic review
How Do I Measure Cardiac Output in Patients with Shock?
  Clinical exam; Thermodilution
Given major limitations of above 2 methods, further work to validate other types of cardiac output measurement in patients with shock needs to be done