## Slide 1: OXYGEN THERAPY
NUR 422

## Slide 2: OVERVIEW
Introduction
Indications
Oxygen delivery systems
Complications of oxygen therapy

## Slide 3: Goal of oxygen therapy
To maintain adequate tissue oxygenation while minimizing cardiopulmonary work

## Slide 4: O2 Therapy : CLINICAL OBJECTIVES
Correct documented or suspected hypoxemia
Decrease the symptoms associated with chronic hypoxemia
Decrease the workload hypoxemia imposes on the cardiopulmonary system

## Slide 5: O2 Therapy : Indications
Documented hypoxemia as evidenced by
  PaO2 < 60 mmHg or SaO2 < 90% on room air
  PaO2 or SaO2 below desirable range for a specific clinical situation
Acute care situations in which hypoxemia is suspected
Severe trauma
Acute myocardial infarction
Short term therapy (Post anaesthesia recovery)
Respir Care 2002;47:707-720

## Slide 6: ASSESSMENT
The need for oxygen therapy should be assessed by
1. monitoring of ABG - PaO2, SpO2
2. clinical assessment findings.

## Slide 7: PaO2 as an indicator for Oxygen therapy
PaO2 : 80 – 100 mm Hg : Normal
60 – 80 mm Hg : cold, clammy
extremities
< 60 mm Hg : cyanosis
< 40 mm Hg : mental deficiency
memory loss
< 30 mm Hg : bradycardia
cardiac arrest
PaO2 < 60 mm Hg is a strong indicator for oxygen therapy

## Slide 8: Clinical assessment of hypoxia
mild to moderate severe
CNS : restlessness somnolence, confusion
disorientation impaired judgement
lassitude loss of coordination
headache obtunded mental status
Cardiac : tachycardia bradycardia, arrhythmia
mild hypertension hypotension
peripheral vasoconst.
Respiratory: dyspnea increasing dyspnoea,
tachypnea tachypnoea, possible
shallow & bradypnoea
laboured breathing
Skin : paleness, cold, clammy cyanosis

## Slide 9: MONITORING
Physical examination for C/F of hypoxemia
Pulse oximetry
ABG analysis
  pH
  pO2
  pCO2
Mixed venous blood oxygenation

## Slide 10: O2 Delivery systems

## Slide 11: O2 Delivery devices
  Low flow (Variable performance devices )
    Nasal cannula
    Nasal catheter
    Transtracheal catheter
  Reservoir system (Variable performance device)
    Reservoir cannula
    Simple face mask
    Partial rebreathing mask
    Non rebreathing mask
    Tracheostomy mask
  High flow (Fixed performance devices)
    Ventimask (HAFOE)
    Aerosol mask and T-piece with nebulisers

## Slide 12: Complications of Oxygen therapy

## Slide 13: Complications of Oxygen therapy
1. Oxygen toxicity
2. Depression of ventilation
3. Retinopathy of Prematurity
4. Absorption atelectasis
5. Fire hazard

## Slide 14: 1. O2 Toxicity
Primarily affects lung and CNS.
2 factors: PaO2 & exposure time
CNS O2 toxicity (Paul Bert effect)
  occurs on breathing O2 at pressure > 1 atm
  tremors, twitching, convulsions

## Slide 15: How much O2 is safe?
100% - not more than 12hrs 80% - not more than 24hrs 60% - not more than 36hrs
Goal should be to use lowest possible FiO2 compatible with adequate tissue oxygenation

## Slide 16: Indications for 70% - 100% oxygen therapy
Resuscitation
Periods of acute cardiopulmonary instability
Patient transport

## Slide 17
Oxygen is a drug.
When appropriately used, it is extremely beneficial
When misused or abused, it is potentially harmful

## Slide 18: THANK YOU….