## Slide 1: Care for patients with pain

## Slide 2: Outline
    Assessment of Pain
    Patient controlled anesthesia

## Slide 3
Define the pain ?

## Slide 4: Definition of Pain
an unpleasant sensory and emotional experience associated with actual or potential tissue damage (Merskey & Bogduk, 1994).
It is the most common reason for seeking health care.
It occurs with many disorders, diagnostic tests, and treatments.
It disables and distresses more people than any single disease.

## Slide 5: Three Basic Categories of pain
A. ACUTE PAIN - recent onset and commonly associated with a speciﬁc injury, indicates that damage or injury has occurred.
lasts from seconds to 6 months.
In a situation where healing is expected in 3 weeks and the patient continues to suffer pain, it should be considered chronic and treated with interventions used for chronic pain.

## Slide 6: Three Basic Categories of pain
B. CHRONIC (NONMALIGNANT) PAIN
Chronic pain is constant or intermittent pain that persists beyond the expected healing time and that can seldom be attributed to a speciﬁc cause or injury.
It may have a poorly deﬁned onset, and it is often difﬁcult to treat because the cause or origin may be unclear.
pain that lasts for 6 months or longer,
Nevertheless, after 6 months, most pain experiences are accompanied by problems related to the pain itself.

## Slide 7: Three Basic Categories of pain
CANCER-RELATED PAIN
may be acute or chronic.
it is the second most common fear of newly diagnosed cancer patients ( 1ST is fear of dying)
can be directly associated with the cancer (eg, bony infiltration with tumor cells or nerve compression) ; a result of cancer treatment (eg, surgery or radiation); or not associated with the cancer (eg, trauma).
a direct result of tumor involvement.

## Slide 8: PAIN ASSESSMENT
1. Observe the patient carefully, noting the patient’s :
A. overall posture
B. presence or absence of overt pain behaviors
C. ask the person to describe, in his or her own words, the speciﬁcs of the pain.
* The words used to describe the pain may point toward the etiology.
* A detailed history should follow the initial description of pain.

## Slide 9: Pain Assessment
P
Precipitating/Alleviating Factors
Q
R
Region and Radiation
S
Severity
T
T iming
Quality of Pain:

## Slide 11: EFFECTS OF ACUTE PAIN
Unrelieved acute pain can affect the:
A. pulmonary,
B. Cardiovascular
C. Gastrointestinal
D. Endocrine
E. immune system
The patient with severe pain and associated stress may be unable to take a deep breath and may experience increased fatigue and decreased mobility.
Although these effects may be tolerated by a young, healthy person, they may hamper recovery in an elderly, debilitated, or critically ill person.
Effective pain relief may result in a faster recovery and improved outcomes.

## Slide 12: EFFECTS OF CHRONIC PAIN
1. Suppression of the immune function associated with chronic pain may promote tumor growth.
2. depression
3. disability

## Slide 13: Non-Pharmacological Interventions
Heat & Cold applications
Relaxation techniques, distraction
Music therapy
Massage
NOTE:
The above management techniques are meant to supplement, not replace pharmacological interventions.

## Slide 14: PCA Patient Controlled Analgesia

## Slide 15: What is Patient Controlled Analgesia?
Patient Controlled Analgesia (PCA) uses a programmable syringe pump to allow patients to self-administer their own intravenous analgesia.

## Slide 16: Understanding PCA
The PCA device is a programmable syringe pump, which delivers the opioid infusions according to individualised settings:
  Bolus dose
  Lockout time
  Dose duration
  Background infusion

## Slide 17
Bolus dose
When the patient presses the remote button, the PCA delivers the programmed bolus dose.
In cases of severe pain or in patients with large opioid requirements the bolus dose may be several times higher than the usual protocol

## Slide 18
Lockout time
Lockout time is usually set at 5 minutes
The PCA will not deliver a dose during lockout time, even if the patient presses the button
This allows each bolus to reach peak effect before the patient has another bolus
Lockout time reduces the risk of overdose

## Slide 19
Good tries / Bad tries
A good try is when the PCA delivers a bolus dose of analgesia.
A bad try is when the patient presses the button during the lockout time and no bolus dose is delivered.
Knowing the proportion of good and bad tries allows medical staff to adjust the PCA settings to meet the patient’s needs or whether further patient education is required.

## Slide 20
Dose duration
Dose duration is normally set as ‘stat’
  Alaris PCA ‘stat’ is 70 seconds
  The dose duration may be increased to prevent problems such as light-headedness or nausea associated with a rapid peak of onset of analgesia.

## Slide 21
Background infusion
Background infusion (continuous infusion) may be added to improve analgesia
Generally background infusion is only required for patients following major surgery or patients with oncology-related pain and high opioid requirements
Background infusions may increase the risk of the side effects associated with opioids:
  sedation, respiratory depression, itch, nausea.

## Slide 22
Advantages of PCA
Pain is in “control” by patient
Rapid response to demand for analgesia
Reduced patient anxiety
Fewer complications
Increased staff, patient and family satisfaction
Decreased staff workload

## Slide 23
Patient selection ( Indication ) :
PCA is suitable for treatment of most types of acute and acute-on-chronic pain:
Surgical
Medical
Trauma
Burns
Oncology

## Slide 24
Contraindications to PCA
Inability to understand the concept of PCA
Children not wishing to control their own analgesia.

## Slide 25
Nursing role for patient using PCA
Adjust Correct dose of opioid
Accurate documentation
Observation of vital signs
Documented pain scores
Monitoring:
  sedation scores
  respiratory effort, rate, depth
  oxygen saturation
  heart rate
The number of good and bad tries are documented
The total dose of opioid received is also recorded

## Slide 26
Pre-operative education
The anaesthetist will discuss PCA with the patient pre-operatively
Explain the basic principles of PCA to patient prior to surgery
Reminding patient post-operatively about using PCA effectively
Reference:
Smeltzer and Bare . Brunner & Suddarth’s Medical Surgical Nursing