## Slide 1: Obstetric Ultrasound
By .Lamyaa alluhaydan

## Slide 2
1- Is usually obtained twice during the normal
pregnancy:
(18-24 weeks) , (32-38 weeks).
2- It can be done before 18 weeks:
-to confirm intra-uterine pregnancy .
-estimation of G.A.
-exclude abnormal pregnancy (molar or ectopic ).
-multiple pregnancy .

## Slide 3
QUSTION ALWAYS SHOULD BE ASKED TO THE PREGNANCY
WOMEN BEFROE SCANNING:
- LMP.
- any cardiac problems.
- any previous abnormal baby .
- bleeding?
- any abnormal pain ?
- medication ??
- diabetic ??
SCANNING :
-Transvaginal : for early pregnancy on the first 9 wk
-Transabdomenal .

## Slide 4
GESTATIONAL SAC :
-its usually visualized from 31 days (4+3 wks) =(2-3 mm)or (5+3 wks).
-it will appear as circle area surrounding by thick bright ring at fundal
area.
-it grow approx. (1mm/day)
-at (8 weeks) amniotic cavity expands rapidly .
-at the end of the first trimester, the amniotic and chorionic
membrane becomes fused .

## Slide 5
YOLK SAC:
-appear as circle mass with the G.S.
-it can be identified at (35 days).
-it grow slowly until reach a maximum of (6 mm)at (10 wks).
-the identification of the yolk sac will be very difficult after
(12 wks).

## Slide 6
EMBRYO:
-(4-9) wks (embryo).
-(10-40) wks (fetus ).
-it can be visualized from (5 wks) ,on this stage CROWN-RUMP-LENGTH
(CRL) can be measured.
-the embryo grow (1 mm/day )
-cardiac activity (heart rate ) seen (6-9 wks )
-about ( 9 wks ) placenta can be seen
-at ( 8 wks ) upper + lower lumb
can be seen more clearly .

## Slide 7
NUCHAL TRANSLUCENCY (NT):
Seen between ( 11-14 ) weeks.

## Slide 8
MULTIPLE PREGANCY:

## Slide 9
ECTOPIC PREGNANCY

## Slide 10
Molar pregnancy :

## Slide 11: Second trimester
-it called ( routine anomaly scan ) (18-24 wks ).
-optimal time to examine fetal heart at
(23-24 wks).
-fetal anatomy ,placenta ,amount of amniotic volume ,fetal movement ,measurements ,ovary ,uterus , both adnexa .

## Slide 12
1- Biparital diameter (BPD)
2- Head circumference (HC)

## Slide 13
3- Abdominal circumference (AC)

## Slide 14
4- Femoral length(FL)

## Slide 15
5- FETAL POSITION:(cephalic-breach)
6- PLACENA SITE

## Slide 16
Thank you