## Slide 1: Physiologic Basis for Hemodynamic Monitoring
臺大醫院麻醉部
鄭雅蓉

## Slide 2: Circulation to Perfusion
Arteries
Organs & Tissues
Heart
Veins
Anesthesia
Sedation
Sympathetic Nervous System
Oxygenation
Consumption

## Slide 3: Adequate Oxygen Delivery?
Consumption
Demand

## Slide 4: Oxygen Delivery
Arterial Blood Gas
Hemoglobin
PaO2
Oxygen Content
Oxygen Delivery
Cardiac Output
Oxygen Content
=
X
Hemodynamic Monitors

## Slide 5: Oxygen Consumption
Oxygen Delivery
Oxygen Consumed
Remaining Oxygen to Heart
=
+
Oxygen Uptake by Organs & Tissues
Oxygen Content in CVP & PA

## Slide 6: Physiological Truth

## Slide 7: Physiological Truth
There is no such thing as a “Normal Cardiac Output”
Cardiac output is either
Absolute values can only be used as minimal levels below which some tissue beds are probably under perfused
- Adequate to meet the metabolic demands
- Inadequate to meet the metabolic demands

## Slide 9: History of Monitoring
1960s: golden age of vasopressors
1970s: golden age of inotropes
1980s:
1990s till now:
Pressure, arterial line & CVP
Cardiac output, PA catheter
SvO2 , relative balance between oxygen supply and demand
Better understanding of tissue oxygenation, right ventricular function
Functional monitoring, PiCCO, continuous CO
Less invasive, TEE

## Slide 10: Hemodynamic Monitoring Truth
No monitoring device, no matter how simple or complex, invasive or non-invasive, inaccurate or precise will improve outcome
Unless coupled to a treatment, which itself improves outcome
Pinsky & Payen. Functional Hemodynamic Monitoring, Springer, 2004

## Slide 11: Goals of Monitors
To assure the adequacy of perfusion
Early detection of inadequacy of perfusion
To titrate therapy to specific hemodynamic end point
To differentiate among various organ system dysfunctions
Hemodynamic monitoring for individual patient should be physiologically based and goal oriented.

## Slide 12: Different Environments Demand Different Rules
Emergency Department
Trauma ICU
Operation Room
ICU & RR
Rapid, invasive, high specificity
Somewhere in between ER and OR
Accurate, invasive, high specificity
Close titration, zero tolerance for complications
Rapid, minimally invasive, high sensitivity

## Slide 13: Hemodynamic monitors (1)
Traditional invasive monitors
    Arterial line
    CVP & ScvO2
    PA catheter, CCO, SvO2
Functional pressure variation
    Pulse pressure variation
    Stroke volume variation

## Slide 14: Hemodynamic monitors (2)
Alternative to right-side heart catheterization
  PiCCO
Echocardiography
  Transesophageal echocardiography (TEE)
  Esophageal doppler monitor

## Slide 15: Is Cardiac Output Adequate?
Pump
function ?
Adequate intravascular volume?
Driving pressure for venous return?
Is blood flow adequate to meet metabolic demands?

## Slide 16: Is Cardiac Output Adequate?
Left & right ventricular function
The effects of respiration or mechanical ventilation
Preload & preload responsiveness
We Should Know

## Slide 17: Ventricular Function
Left ventricular function
Right ventricular function
Depressed right ventricular function was further linked to more severely compromised left ventricular function.
Nielsen et al. Intensive care med 32:585-94, 2006

## Slide 18: Respiration and RV function
Spontaneous ventilation
Mechanical positive pressure ventilation

## Slide 19: Use of Heart Lung Interactions to Diagnose Preload-Responsiveness
ValSalva maneuver
Ventilation-induced changes in:
    Right atrial pressure
    Systolic arterial pressure
    Arterial pulse pressure
    Inferior vena caval diameter
    Superior vena caval diameter
Sharpey-Schaffer. Br Med J 1:693-699, 1955
Zema et al., D Chest 85,59-64, 1984
Magder et al. J Crit Care 7:76‑85, 1992
Perel et al. Anesthesiology 67:498-502, 1987
Michard et al. Am J Respir Crit Care Med 162:134-8, 2000
Jardin & Vieillard-Baron. Intensive Care Med 29:1426-34, 2003
Vieillard-Baron et al. Am J Respir Crit Care Med 168: 671-6, 2003

## Slide 20
Mechanical positive pressure ventilation
Increase RV outflow impedance, reduce ejection, increase RVEDV, tricuspid regurgitation
TEE: SVC diameter: the effect of venous return?
CVP may be misleading

## Slide 21: Preload & Preload Responsiveness
Starling’s law is still operated.
CVP, PAOP and their changes:
If end diastolic volume ( EDV ) increased in response to volume loading, then stroke volume increased as well.
Did not respond with EDV, but
Provide a stable route for drug titration and fluid infusion

## Slide 22: Neither CVP or Ppao reflect Ventricular Volumes or tract preload-responsiveness
Kumar et al. Crit Care Med 32:691-9, 2004

## Slide 23: Neither CVP or Ppao reflect Ventricular Volumes or tract preload-responsiveness
Kumar et al. Crit Care Med 32:691-9, 2004

## Slide 24: Physiological limitations
PAOP
LV diastolic compliance
Pericardial restraint
Intrathoracic pressure
Heart rate
Mitral valvulopathy
CVP
RV dysfunction
Pulmonary hypertension
LV dysfunction
Tamponade & hyperinflation
Intravascular volume expansion

## Slide 25: Predicting Fluid Responsiveness in ICU Patients
Responders / Non-responders |  | % Responders
Calvin (Surgery 81) | 20 / 8 | 71%
Schneider (Am Heart J 88) | 13 / 5 | 72%
Reuse (Chest 90) | 26 / 15 | 63%
Magder (J Crit Care 92) | 17 / 16 | 52%
Diebel (Arch Surgery 92) | 13 / 9 | 59%
Diebel (J Trauma 94) | 26 / 39 | 40%
Wagner (Chest 98) | 20 / 16 | 56%
Tavernier (Anesthesio 98) | 21 / 14 | 60%
Magder (J Crit Care 99) | 13 / 16 | 45%
Tousignant (A Analg 00) | 16 / 24 | 40%
Michard (AJRCCM 00) | 16 / 24 | 40%
Feissel (Chest 01) | 10 / 9 | 53%
Mean | 211 / 195 | 52%
Michard & Teboul. Chest 121:2000-8, 2002

## Slide 26: Can CVP Be Use for Fluid Management?
Relatively
Absolutely
Does apneic CVP predict preload responsiveness?
Michard et al. Am J Respir Crit Care Med 162:134-8, 2000
Yes on most counts
Yes for hypovolemia (10 mmHg cut-off)
No, but then neither does Ppao or direct measures of LV end-diastolic volume

## Slide 27: Thermodilution Cardiac Output
    Mean (steady state) blood flow
    Functional significance of a specific cardiac output value
    Cardiac output varies to match the metabolic demands of the body
Pinsky, The meaning of cardiac output.
Intensive Care Med 16:415-417, 1990
The meaning of cardiac output

## Slide 28: Mixed Venous Oximetry
SvO2 is the averaged end-capillary oxygen content (essential for VO2 Fick)
SvO2 is a useful parameter of hemodynamic status is specific conditions
  If SvO2 < 60% some capillary beds ischemic
  In sedated, paralyzed patient SvO2 parallels CO

## Slide 29: Adequate Oxygen delivery?
SvO2: mixed venous oxygen saturation
C(a-v)O2: arterial-venous oxygen content difference
Lactate: the demand and need of the use of oxygen
Consumption & delivery
Consumption & cardiac output
Consumption & demand

## Slide 30: Central Venous and Mixed Venous O2 Saturation
ScvO2 on CVP monitor
SvO2 on PA catheter
SvO2 is a sensitive but non-specific measure of cardiovascular instability
Although ScvO2 tracked SvO2, it is tended to 7 ± 4 % higher.

## Slide 31: Arterial Catheterization
Directly measured arterial blood pressure
Baroreceptor mechanisms defend arterial pressure over a wide range of flows
Hypotension is always pathological
Beat-to-beat variations in pulse pressure reflect changes in stroke volume rather than cardiac output

## Slide 32: Pulmonary Arterial Catheterization
Pressures reflect intrathoracic pressure
Ventilation alters both pulmonary blood flow and vascular resistance
  Resistance increases with increasing lung volume above resting lung volume (FRC)
  Right ventricular output varies in phase with respiration-induced changes in venous return
    Spontaneous inspiration increases pulmonary blood flow
    Positive-pressure inspiration decreases pulmonary blood flow

## Slide 33: Functional Hemodynamic Monitors
Arterial pulse contour analysis
A better monitors for preload responsiveness:
  a significant correlation between the increase of cardiac index by fluid loading by pulse pressure variation and stroke volume variation
Peripheral continuous cardiac output system (PiCCO): arterial pulse contour and transpulmonary thermal injection:
  intrathoracic volume and extravascular lung water

## Slide 34: Conclusions Regarding Different Monitors
Hemodynamic monitoring becomes more effective at predicting cardiovascular function when measured using performance parameters
    CVP and arterial pulse pressure (ΔPP) variations predict preload responsiveness
    CVP, ScvO2 and PAOP, SvO2 predict the adequacy of oxygen transport

## Slide 35: The Truths in Hemodynamics
Tachycardia is never a good thing.
Hypotension is always pathological.
There is no normal cardiac output.
CVP is only elevated in disease.
A higher mortality was shown in patients with right ventricular dysfunction and an increase of pulmonary vascular resistance.

## Slide 36: The Truths in Hemodynamic Monitoring
Monitors associate with inaccuracies, misconceptions and poorly documented benefits.
A good understanding of the pathophysiological underpinnings for its effective application across patient groups is required.
Functional hemodynamic monitors are superior to conventional filling pressure.
The goal of treatments based on monitoring is to restore the physiological homeostasis.