## Slide 1: Plasma enzyme
Determination of plasma enzymes using the clinical analyzer

## Slide 2
Blood plasma contains many enzymes which are classified into:
1. Functional plasma enzymes
2. Non functional plasma enzyme

## Slide 3: Source Non functional plasma enzyme
Cell damage with the release of its content of enzymes
into blood e.g. Myocardial infarction and viral hepatitis
Obstruction of normal pathways e.g. Obstruction of
bile duct increases alkaline phosphatase
Increase of the enzyme synthesis e.g. bilirubin
increases the rate of synthesis of alkaline phosphatase
in obstructive liver disease
Increased permeability of cell membrane as in hypoxia

## Slide 4: non functional enzymes in medical
Measurement of non functional enzymes is
important for:
Diagnosis of diseases
Prognosis of the disease

## Slide 5: Lactate Dehydrogenase (LDH)
* Lactic acid dehydrogenase (LDH) is an enzyme that helps produce energy
* Normal LDH levels range from 45 U/L to 90 U/L.
* LDH is most often measured to evaluate the presence of tissue damage.(diagnostic )
* The enzyme LDH is in many body tissues, especially the heart, liver, kidney, skeletal muscle, brain, blood cells, and lungs..

## Slide 6: LDH reaction
Lactate is released into the blood and is eventually taken up by the liver.
The liver converts lactate back to glucose and releases glucose into the blood.
This glucose is then taken up by resting muscles, red blood cells, and other Tissue

## Slide 7
*Exercising muscles convert (and red blood cells metabolize) glucose to lactate.
*The optimum pH for lactate pyruvate (L P) reaction is 8.8 – 9.8
*while for pyruvate to lactate (P L) is 7.7 – 7.8. 8
* The enzyme is inhibited by sulfhydryl reagents such as P-chloromercuribenzoate and mercuric ions.

## Slide 8: LDH isoenzyms
LDH exists in 5 forms (isoenzymes), which differ slightly in structure.
Enzyme Level U/G | Tissues | LDH Isoenzyme
160,000 | is found primarily in heart muscle and red blood cells. | LDH-1
16,000 – 62,000 | is concentrated in WBC | LDH-2
 | is highest in the lung | LDH-3
250,000-300,000 | is highest in the kidney, placenta, and pancreas | LDH-4
260,000 | is highest in the liver | LDH-5
133,000 | and in skeletal muscle | 

## Slide 9
LDH Level | Disease | 
LDH level 6-10 times normal |  | Myocardial infarction
LDL level 10 times | Toxic jaundice | Liver Disease
LDH level is lower than 10 times | Viral hepatitis | 
LDL level 2 times | Obstructive jaundice | 
LDH level 50 times | Pernicious anemia | Anemia
LDH level 20 times | Megaloblastic anemia | 
LDH | Tubular necrosi | Renal Diseases
LDH |  | Pyelonephritis
LDH | Lung Cancer | Malignant Disease
LDH |  | Hodgkin‟s disease

## Slide 10
All of these isoenzymes can be measured in the
blood, and can be separated by electrophoresis.

## Slide 11: Objective
Determination of LDH (Lactate Dehydrogenase) in Serum

## Slide 12: Principle
LDH is a hydrogen transfer enzyme which catalyzes the interconversion of pyruvate and lactate.
In the liver, it catalyzes the oxidation of L-lactate to pyruvate (LP) with the mediation of NAD as hydrogen acceptor. The reaction is reversible and the reaction equilibrium strongly favors the reverse reaction, namely the reduction of pyruvate to lactate (PL). The formation of NADH produces an increase in absorbance at 340 nm. The rate of absorbance change is directly proportional to the activity of LDH in the specimen.

## Slide 13: Reagents
LDH Reagent
[Lactate solution (51.6 mmol/l) + NAD (8.26 mmol/l) in tris buffer)

## Slide 14: Procedure
In Test Tube
Pipette 3 ml of the LDH reagent
Pre-warm the tube at 37 C for 3 min
Pipette 0.1 ml (100µl) of serum sample
Mix, and allow 1 min for temperature equilibration
Read the absorbance at 340 nm every minute for 3 min against H2O

## Slide 15: Procedure
Absorbance |  | ∆A/min | 
A1 |  |  | 
A2 |  |  | 
A3 |  |  | 

## Slide 16: Calculations
Then calculate
A1, = A2 - A1
A/min = ( A1+ A2) / 2
A2 = A3 – A2
Calculations
LDH (U/L) = A x 4921