## Slide 1
Exercise 1
Suppose we have a simple mass, spring, and damper problem. Find
The modeling equation of this system (F input, x output).
The transfer function.
Let M = 1 kg b = 10 N s/m k = 20 N/m F = 1 N
3. Find Open-Loop Step Response.
4. Design a proportional controller to improve the output (=17.89).
5. Design a proportional derivative controller to improve the output (=0.56 and =17.89).

## Slide 2
Solution 1
1. The modeling equation of this system
2. The transfer function.
Taking the Laplace transform of the modeling equation, we get
Create a new m-file (Matlab) and run the following code:
Let M = 1 kg b = 10 N s/m k = 20 N/m F = 1 N
3. Find Open-Loop Step Response.
Plug these values into the above transfer function
the DC gain of the plant transfer function is 1/20, so 0.05 is the final value of the output to an unit step input.
this corresponds to the steady-state error of 0.95, quite large indeed.
the rise time is about one second,
the settling time is about 1.5 seconds

## Slide 3
4. Proportional Control
The proportional controller (Kp) reduces the rise time, increases the overshoot, and reduces the steady-state error.
Let the proportional gain equal 300 and change the m-file to the following
+
-
The above plot shows that the proportional controller reduced both the rise time and the steady-state error, increased the overshoot, and decreased the settling time by small amount.

## Slide 4
Proportional-Derivative Control
Now, let's take a look at a PD control. From the table shown above, we see that the derivative controller (Kd) reduces both the overshoot and the settling time. The closed-loop transfer function of the given system with a PD controller is:
This plot shows that the derivative controller reduced both the overshoot and the settling time, and had a small effect on the rise time and the steady-state error.

## Slide 5
Exercise 2
Use a PD controller to control the system to meet the specifications

## Slide 6
Solution
The open Loop Analysis: the system poles p = 0 and p= - 1.
the system TF:
Specifications:
Desired Poles
- 1
System
poles
Im
Re
0
3.9
Desired
poles
0.8
The system does not meet the desired specification, we need a controller.
+
-
Controller
For the design, we need to find and to meet the specifications .
By matching coefficients:

## Slide 7
Exercise 3
Use a PI controller to control the system to meet the specifications

## Slide 8
The system is type zero, it has no integrator. In order to have no steady-state error we need to add an integrator to make the system type one.
Solution
The open Loop Analysis: the system pole: p= - 3.
- 3
System poles
Im
Re
- 4
The controller design: PI controller
+
-
The PI controller can be written as:
Gain
Zero =
Integrator
satisfy the settling time
71