## Slide 1: Principles of cardiovascular measurement I and II
How do you measure
  pressures in the CVS
  volumes in the heart
  velocity & flow in the CVS
Why would you want to know them?
Boron & Boulpaep - Chap 17

## Slide 2: Pressure in the CVS
Pull out, Betty! Pull out! . . . You’ve hit an artery!

## Slide 3: Pressure in the CVS
Stephen Hales
1733

## Slide 4: Pressure in the CVS

## Slide 5: Pressure in the CVS

## Slide 6: Pressure in the CVS
Brachial arterial pressure is measured indirectly using Korotkof sounds
Start of tapping = systolic pressure
Loss of all sounds = diastolic pressure
Disadvantages = needs care, inaccurate, discontinuous
Advantages = non-invasive, cheap
Only gives systemic arterial pressure

## Slide 7: Pressure in the CVS
Directly through pressure transducer
Insert cather/transducer in:
  Antecubital vein  vena cava, right atrium, right ventricle, pulmonary artery
  Brachial/femoral artery  aorta, left, ventricle, left atrium
Accurate, but invasive

## Slide 9: So what?
Why would you want to know this?
  Diagnose hypertension
  Right ventricular failure causes an increase in right atrial pressure
  Tricuspid regurgitation causes large v-wave
  etc etc etc
  Frank’s bit

## Slide 10: Volumes in the heart
eg atrial and ventricular volumes through out the cardiac cycle
  Gated radionucleotide imaging
  Angiography
  NMR imaging
  Echocardiography

## Slide 11: Volumes in the heart
Gated radionucleotide imaging
  Technetium-99
  Half-life is ~6 hours
  Inject into blood supply
  Record -emissions from region of the ventricle
  Gate period of counts from the ECG
  Compare end-diastolic & systolic counts
  Gives relative ESV:EDV, ie ejection fraction
  Not quantitative

## Slide 12: Volumes in the heart
Angiography
  Radio-opaque material
  Inject into blood supply
  Take multiple X-rays
  Gives 2-dimensional image of heart
  Used to estimate volume of chambers

## Slide 13: Volumes in the heart

## Slide 14: Volumes in the heart
Dye injected into left ventricle showing diastole and systole

## Slide 15: Volumes in the heart
NMR-imaging
  Gives image of protons in water of heart & cardiac muscle
  Low resolution therefore very slow
  Used to estimate volumes of chambers

## Slide 16: Volumes in the heart
Echocardiography
  Two-dimensional echocardiography
  Done from outside, or trans-oesophageal
  Ultrasound passes through some structures, but bounces off others, eg walls of heart
  Used to estimate volumes
  M-mode echocardiography

## Slide 17: Volumes in the heart
2-dimenensional
M-mode

## Slide 18: So what?
Why would you want to know this?
  Absolute size of heart varies with body mass, however ………
  Early heart failure results in smaller ejection fraction
  Chronic heart failure results in enormously dilated heart
  etc etc etc
  Frank’s bit

## Slide 19: Measurement of blood flow and cardiac output

## Slide 20
Electromagnetic flow meters
  Accurate, but invasive
Ultrasonic flow meters
Venous occlusion plethysmography
Fick method
Indicator-dilution method
Doppler echocardiography
Measurement of blood flow and cardiac output

## Slide 21: Measurement of cardiac output
Fick Method
adding 10 beads per minute

## Slide 22: Measurement of cardiac output
Fick Method
adding 10 beads per minute

## Slide 23: Measurement of cardiac output
Fick Method
adding 10 beads per minute
concentration is 2 beads per litre
Flow =
Rate added
Concentration
=
10 beads/min
2 beads/litre
= 5 litres/min

## Slide 24: Measurement of cardiac output
Fick Method
lung
rate of O2 consumption
Flow =
rate of O2 consumption
[O2] leaving – [O2] entering
=
250 ml/min
190 – 140 ml/litre
= 5 litres/min
O2 concentration of blood leaving lung
O2 concentration of blood entering lung

## Slide 25: Measurement of cardiac output
Fick Method
  Devised in 1870, not use practically until 1950’s
  Easy to get representative arterial blood sample
    eg femoral artery, brachial artery
  Difficult to get representative venous blood sample
    renal venous blood contains ~ 170 ml O2 / litre of blood
    cf coronary venous blood ~ 70 ml O2 / litre
    therefore need mixed venous blood
    ie from right ventricle or pulmonary trunk
  Very accurate – the “gold standard” for measuring CO
  But is invasive, and discontinuous

## Slide 26: Measurement of cardiac output
Indicator dilution method
Sample dye
concentration
Concentration (g/L)
Time (min)
inject bolus of dye
0
0.5

## Slide 27: Measurement of cardiac output
Indicator dilution method
Sample dye
concentration
inject bolus of dye
Time (min)
0
0.5
Concentration (g/L)

## Slide 28: Measurement of cardiac output
Amount of dye added = 5 mg
Average dye concentration = 2 mg/L
Therefore the volume that diluted the dye = 5mg = 2.5 L
Time it took to go past = 0.5 min
ie flow rate = 2.5 L = 5 L/min
General equation:
~
mass of dye (Q g)
average dye conc (X g/L) x time of passage (t min)
2 mg/L
0.5 min
Flow rate =
average conc (X) = 2 mg/L
time of passage (t) = 0.5 min
~

## Slide 29: Measurement of cardiac output
Practical considerations
Concentration (g/L)
Time (min)
0
0.5
Log concentration (g/L)
Time (min)
0
0.5

## Slide 30: Measurement of cardiac output
Practical considerations
  dye recirculates in the CVS
  estimate of first transit time is facilitated by plotting log concentration
  Dye must be non-toxic and not immediately absorbed eg indocyanine green
  Injected into pulmonary artery
  Measured in brachial artery
  Like the Fick method, is invasive, & discontinuous
Same principle
  Measure thermodilution of cold saline

## Slide 31: Doppler echocardiography
Pulsed ultrasound waves emitted
Directed parallel to flow of blood eg down supra-sternal notch into ascending aorta
Wavelength of sound is altered as it is reflects off moving red blood cells

## Slide 32: Doppler echocardiography
Pulsed ultrasound waves emitted
Directed parallel to flow of blood eg down supra-sternal notch into ascending aorta
Wavelength of sound is altered as it is reflects off moving red blood cells
Change in pitch indicates velocity of red blood cells
Estimate of aortic cross-section gives blood flow ie cardiac output
Pseudo-colouring used to indicate turbulence

## Slide 33: Doppler echocardiography

## Slide 34: Doppler echocardiography

## Slide 35: So what?
Why would you want to know this?
  Cardiac output varies with body mass
  A failing heart works higher up the Starling curve (hence lower ejection fraction)
  Therefore cannot increase cardiac output when required
  Exercise-stress testing will show this up
  etc etc etc
  (Franks bit)