## Slide 1: Radionuclides production cont.
Generators
Lecture 5

## Slide 2: Generators
● Where clinical tests require that a radioisotope be administered internally, it is advantageous to use an isotope with a short half-life to minimize the radiation dose received by the patient.
● Larger dose of short-lived radionuclides can be administered to the patient with only minimal radiation dose and excellent image quality.
● The short-lived radionuclides cannot be shipped to the distant places because of their rapid decay.

## Slide 3: Generators are developed to serve as convenient sources of the production of short-lived radionuclides.
● A generator is constructed on the principle of the decay-growth relationship between a long-lived parent radionuclide and its short-lived daughter radionuclide.
● In a generator, basically a long-lived parent nuclide is allowed to decay to its short-lived daughter nuclide and the latter is then chemically separated.

## Slide 4: The importance of radionuclide generators lies in the fact that they are easily transportable and serve as sources of short-lived radionuclides in institutions far from the site of any cyclotron or reactor facility.
● Generators are either ion exchange resins or alumina columns which contain a parent radionuclide.
● With time the parent radionuclide decays to a daughter radionuclide that is not adsorbed on the column.

## Slide 5: Radionuclide generator
● It consists of a glass or plastic column fitted at the bottom with a fritted disk.
● The column is filled with adsorbent material such as cation- or anion-exchange resin, alumina and zirconia, on which the parent nuclide is adsorbed.
● The daughter radionuclide grows as a result of the decay of the parent.
● Because there are differences in chemical properties, the daughter activity is eluted in a carrier-free state with an appropriate solvent, leaving the parent on the column.

## Slide 6
● After elution, the daughter activity starts to grow again in the column until a equilibrium is reached.

## Slide 7
● A radionuclide generator must be sterile and pyrogen free.
● The generator system may be sterilized either by autoclaving the entire column or by preparing it from sterile materials under aseptic conditions.
● Often bacteriostatic agents are added to the generator column.
Elution or milking of the generator must be carried out under aseptic conditions.

## Slide 8: An ideal radionuclide generator should be simple, convenient and rapid to use, and give a high yield of the daughter nuclide repeatedly and reproducibly.
● It should be properly shielded to minimize radiation exposure, and sturdy and compact for shipping.
● The generator eluate must be free from the parent radionuclide and adsorbed material.

## Slide 9: The important generators in nuclear medicine are:
99Mo-99mTc Generator
87Y-87mSr Generator
Important Radionuclide Generators:
99Mo-99mTc Generator
The 99Mo radionuclide has a half-life of 67 hr and decays by β- emission, to 99mTc. The radionuclide 99mTc has a half-life of 6 hr and decays to ground state 99Tc (2.1 × 105) by isomeric transition.

## Slide 10: Construction

## Slide 13: Radioisotope parent-daughter generator systems
Parent isotope | Half-life | Daughter isotope | Half-life | Application
99Mo 132Te | 67 hr 3.2 days | 99mTc 132I | 6 hr 2.3 hr | Imaging of organs Thyroid scanning