## Slide 1: 302 BCH-Practical
Ftoon Aljarbou
Email: ftaljarbou@ksu.edu.sa
Building 5 , 304

## Slide 2: Mark distribution
30 marks
Quiz 8 marks
Report 6 marks
Experiment 1 mark
Final
10 marks for practical
5 marks theoretical
Questions 2 mark
Final Exam:
18-Dec-2016
19-3-1438
Weekly Quizzes !!

## Slide 3: Things to know before starting a lab
Basic
information
Understand
the specific concept
bench
Results
Discussion
Lab Safety

## Slide 4: Types of assays
Qualitative assays
Determine if specific substance is there or not, by color or some other quality
Quantitative assays Determine the concentration of a substance
Assays

## Slide 5
Outline
Amino acids: qualitative tests of amino acids,
Proteins: qualitative, quantitative tests
Carbohydrate: qualitative tests, quantitative tests
Lipids
DNA

## Slide 6: I- General Laboratory Safety:
Safe working protects:
You
Other lab workers and visitors
Your work

## Slide 7: Personal Protective Equipment
Lab coat should be worn all the time in the lab.
Protective glasses should be worn when using hazard chemicals.
Protective gloves should be worn when handling hazardous materials
Place your bag in the correct area (phone)

## Slide 8: Personal Protective Equipment
How to remove gloves?
Closed-toed shoes should be worn at all times in buildings where chemicals are stored or used.

## Slide 9: General consideration
Never eat, drink or chew gum in the lab
Do not taste , smell or touch any chemical
Tell your instructor about any accident
Tie your hair before doing an experiment
Wash your hands with soap after an experiment.
You must know all exits in your lab, eye washer, and fire extinguisher, first aid kit
Do not touch any electoral sources

## Slide 10: Dealing with chemicals
Consider all chemicals to be hazardous
Know what chemicals you are using and notice the hazard symbols.
Carefully read the label twice before taking anything from a bottle.
Always pour acids into water. If you pour water into acid, the heat of reaction will cause the water to explode into steam.

## Slide 12: Dealing with chemicals
If chemicals come into contact with your skin or eyes, flush immediately with water and consult with your instructor.
Never point a test tube that you are heating at yourself or your neighbor.
Dispose chemicals properly.
Close all chemical bottles after finishing
You must work at the hood when dealing with a chemical with fumes
Do not forget to label your tubes before starting the lab

## Slide 13: Information about chemicals
Material Safety Data Sheet (MSDS) is a document that contains information on the potential hazards (health, fire, reactivity and environmental) and how to work safely with the chemical product.

## Slide 14: Glassware and instrument

## Slide 15: Report
Laboratory reports are written for several reasons. One reason is to communicate the laboratory work to management. In such situations, management often bases company decisions on the results of the report.
Another reason to write laboratory reports is to archive the work so that the work will not have to be done in the future.

## Slide 16: Lab Report
Introduction
In this part you discuss the background that will help to understand your topic.
Material and method
Result
You should report all your result that you get from your experiment. Any tables or figures..
Discussion
You must write a description and reasons for why you get your results..
Questions
References

## Slide 17: References -Sources
NCBI-Pubmed

## Slide 18: Home work
MSDS of H2SO4,
In case of eye contact.
In case of skin contact ,
Is it flammable?