## Slide 1: Experiment Separation of proteins by using SDS-PAGE
530 BCH
Iman Alshehri
Notes: https://www.rose-hulman.edu/~brandt/Chem433/433_Lab_Manual_2013.pdf

## Slide 2
Objectives
Separation of proteins and determine its Molecular Weight.
To learning some valuable skills in the field of separation of protein by SDS-PAGE.

## Slide 3
SDS -PAGE
Due to high density of binding of SDS {detergent} to proteins. Hence proteins are separated only by length of their polypeptide chains (but not by differences in charge).
Great separation. Allows estimation of the size of polypeptide chains

## Slide 4: The Equipment
SDS-PAGE set
Power supply
Boiling water for preparation sample.

## Slide 5: Gels

## Slide 6: PAGE
Separate native proteins by size –

## Slide 7
Reagents and Gel preparation

## Slide 8: Separation gel contents
components | Amount
1.5 M Tris-HCL PH 8.8 | 2 ml
H2O | 2.8 ml
10% SDS | 80µl
10% Ammonium persulphate (fresh) | 100 µl
TEMED | 20 µl
Acrylamide stock | 3.2 ml

## Slide 10: Stacking gel contents
components | Amount
1.5 M Tris-HCL PH 6.8 | 1 ml
H2O | 3 ml
10% SDS | 80 µl
10% Ammonium persulphate (fresh) | 100 µl
TEMED | 20 µl
Acrylamide stock | 1 ml

## Slide 12: Running buffer pH 8.4
components | Amount
Tris | 15 g
Glycine | 72 g
SDS | 5 g
Made up to 1L with distilled water | 

## Slide 14: Disruption buffer(sample buffer)
components | Amount
20% (w/v) SDS | 1 ml
1M Tris HCL pH | 0.5 ml
Glycerol | 1 ml
B- mercaptoethanol | 0.5 ml
Bromophenol blue | 0.01 g
Made up to 10 ml with distilled water | 
Sample Preparation
For best results, all samples should be in identical, low ionic strength buffers.
Mix 40 μl of each sample with 10 μl of disruption buffer.
Heat in a boiling water bath in for 2 min.
in most cases,brief boiling 3 min improves denaturation, but it may also cause the protein to precipitate.

## Slide 15: Protein visualization on gels
After electrophoresis, the proteins in the gels are often stained by Coomassie Blue dye.
Stain the gel for 1 hour, agitate it slowly on a shaker.
De-stain the gel in a destaining solution a few times until protein bands are visualised.

## Slide 16: Thank you