## Slide 1: Exp 7 UREA
Bio-systems Kit

## Slide 2: Definition
Urea or carb-amide is an organic compound with the chemical formula (NH2)2CO. The molecule has two amine (-NH2) groups joined by a carbonyl (C=O) functional group.

## Slide 3
Urea is synthesized in the liver as a by-product of the de-amination of amino acids so it is the main end product of protein metabolism in the body.
Its elimination in the urine represents the major route for nitrogen excretion (cleared from the blood by the kidney into the urine).

## Slide 4: Clinical Significance
*Elevated urea seen:
-As a result of a high protein diet
-Increased protein catabolism
-After gastrointestinal hemorrhage
-Mild dehydration
-Shock and heart failure
-Treatment with gluco-cortcoids(pre-renal uremia).
-Diseases that compromise the function of the kidney often lead to increased blood levels of urea, as measured by the blood urea nitrogen (BUN) test

## Slide 5
*Low urea level:(Not common)
They can be seen in severe liver disease or malnutrition but are not used to diagnose or monitor these conditions. Low urea levels are also seen in normal pregnancy.

## Slide 6
The usefulness of urea as an indicator of renal function is limited by:
The variability of its plasma conc. As a result of non-renal factors
So, we can’t depend on a single test
*Specimen:
Serum or plasma (heparinized sample is recommended)
Urine, dilute urine 1/50 with DW before measurement

## Slide 7: Principle
Urea + H2O 2NH4 + CO2
NH4 + Salicylate + NaCIO Indophenol
The rate of formation of color is proportional to the urea concentration in the sample
Urease
Nitroprusside

## Slide 8: Procedure
sample | Std | Blank | 
1 | 1 | 1 | Rgt.A -ml
--- | 10 | --- | Std- µl
10 | --- | --- | Sample-µl
Mix & incubate for 10 min at RT OR 5min at 37 C |  |  | 
1 | 1 | 1 | Rgt.B-ml
Mix & incubate for 10 min at RT OR 5 min at 37 C |  |  | 
Read A at 600nm against blank and color will stable for 2hrs |  |  | 

## Slide 9: Calculation
A test X conc. of Std(50mg/dl) = conc of urea (mg/dl)
A Std
*Normal Range for adult:
15-39 mg/dl
Neonatal has lower urea than adult
Over 60 years will be higher
Conc. of urea tend to be slightly higher in males than females

## Slide 10: Limitation
-Lipemia & high bilirubin will not interfere.
-Hemolysis with elevated ammonia will interfere
-Some drugs may interfere