## Slide 1: Exp 1
Standardisation of Sodium Hydroxide solution
CLS 381
Daheeya Alenazi

## Slide 2: Outline
What is standardisation ?
Types of standard solutions.
Experiment objective .
Types of titration methods.
Procedure
Calculation

## Slide 3: Standardization
Use of standard solutions to measure the concentration of unknown solution called standardisation.
Types of Standards solution:
A- primary standard:
is solution containing a known concentration of an element or a substance. It is prepared using a standard substance . It can be weighed easily, so pure that its weight is truly representative of the number of moles of substance contained such as KHP, NaCL and KH(IO3)2.

## Slide 4
*Criteria of primary standard:
1- High purity.
2- Inexpensive and readily available.
3- Stable to drying temperatures, not be efflorescent nor hygroscopic.
4- High equivalent weight .

## Slide 5
B- Secondary standard:
Standards which do not meet the criteria mentioned earlier so their concentration must be determined in relative to primary standards through titration.
One of these standards NaOH. NaOH contains impurities of NaCL, Na2C03 and Na2SO4 and readily absorbs H2O from the atmosphere .

## Slide 6
Objective:
To determine the concentration of a solution through the standardisation of sodium hydroxide( NaOH)using potassium hydrogen phthalate(KPH) by titration method.
Concentration:
The number of molecules of a substance in a given volume (expressed as moles/m3) or Molar.

## Slide 7: Titration
Titrations are used to determine the unknown concentrations of samples
The main difference between standardization and titration is that standardization processes essentially uses primary standard solutions whereas titrations do not essentially use primary standard solutions.

## Slide 8: Types of Titration methods
1-Acid-base titration:
It used in volumetric analysis, in which a measured amount of one solution is added to a known quantity of another solution until the reaction between the two is complete. If the concentration of one solution is known, that of the other can be calculated.
2- Back titration:
An analytical technique that allows the user to find the concentration of a reactant of unknown concentration by reacting it with an excess volume of another reactant of known concentration.

## Slide 9
3- Redox titration:
(Also called oxidation-reduction titration)
is a type of titration based on a redox reaction between the analyte and titrant.
4- Complexometric titration:
Complexometric titration (sometimes chelatometry) is a form of volumetric analysis in which the formation of a colored complex is used to indicate the end point of a titration.

## Slide 10: The equivalence point
Or stoichiometric point, of a chemical reaction is the point at which an added titrant is stoichiometrically equal to the number of moles of substance (known as analyte) present in the sample: the smallest amount of titrant that is sufficient to fully neutralize or react with the analyte.

## Slide 11: Standardisation of Sodium Hydroxide solution(Part 1)
KHP (strong acid) + NaOH (base)  KNaP + H2O
The acid and base will react together until reach the end point that is neutral.
*If any additional acid or base is added, the solution will then become acidic or basic depending in which was added in excess.
Indicator:
Used to visualize the end point of reaction
It is a chemical that changes color at a particular PH
End point:
refers to the point at which the indicator changes color in a colorimetric titration.

## Slide 12: Types of indicators
A) Strong acid / base against strong base / acid titrations:
Phenolphthalein / methyl orange and methyl red fall with in the range of the inflection of this group.
B) Weak acid and strong base titration:
phenolphthalein is a suitable indicator as its pH range is 8-9.8. However, methyl orange is not suitable as its pH range is 3.1 to 4.5.

## Slide 13
C) Weak base and strong acid titration:
methyl orange is a suitable indicator while phenolphthalein is not suitable.

## Slide 14: Reagents
1- potassium Acid Phthalate(KHP) as Standard solution
2- NaOH Solution (0.1 M)
3- Phenolphthalein Indicator Solution.

## Slide 15: Procedure
1- weight 0.5 grams of KHP into flask.
2- Dissolve KHP sample in approximately 100 ml of distilled water then add 3 drops
of indicator.
3- Rinse a clean burette two times with 5 ml portions of the NaOH solution to be used when titrating
Through waste, titrate to the first pink colour that persists for at least 30 seconds.
4- Calculate the molarity of the alkaline solution (NaOH).
0.5 g KHP
+
100 ml H2O
+
3 drops of indicator

## Slide 16: Calculation
Using basic stoichiometry, the moles of NaOH in the solution can be determined from the moles of KHP added to the reaction .
KHP (acid) + NaOH (base)  KNaP + H2O
Each mole of KHP, it would be one mole of NaOH react completely.
Since, we weigh out a particular mass of KHP, we will use as the standard. The molecular mass of KHP IS 204.23.
Moles of KHP = grams of KHP/ Molecular mass of KHP
= Calculate Molarity of NaOH for our experiment?
Molarity = no of moles of solute / Litre of Solution (from titration)

## Slide 17
moles of KHP = moles of NaOH.
The burette indicate how much NaOH is being added to the KHP .
This reading will be in (ml). Converted to Litre (litres = ml/1000).
The concentration of the sodium hydroxide solution can be determined now by
Molarity of NaOH = moles of NaOH/ litres of NaOH.

## Slide 18: Example
0.8 grams of KHP is titrated with 40 ml of unknown NaOH solution. What is the molarity of the NaOH solution?
Solution:
Liters of NaOH = ml of NaOH / 1000 = 0.04 Liters.
Moles of KHP = grams of KHP/ molecular mass of KHP
= grams of KHP/ 204.23
= 0.8 grams of KHP/ 204.23 = 0.0039 moles

## Slide 19
moles of NaOH = moles of KHP = 0.0039 moles.
So,
Molarity of NaOH = moles of NaOH / litres of NaOH
= 0.0039 moles / 0.040 litres of NaOH
= 0.0975 moles / litres≈0.1M

## Slide 20: Standardization of HCL solution (Part 2)
During an acid-base titration, the pH changes in a characteristic way. A pH curve is found if the pH of the solution being titrated is plotted against the volume of solution added.
Titration curves:
A titration curve provides us with a visual picture of how a property of the titration reaction changes as we add the titrant to the titrand.

## Slide 21: Table 1 The pH at the start, equivalence and twice equivalence for various combinations of acids as shown in the titration curves in figures 1 and 2.

## Slide 22
The equivalence point (stoichiometric point), corresponds to the mixing together of stoichio-metrically equivalent amounts of acid and base. Note that the pH at equivalence is not necessarily 7 (table 1 )
The pH of a weak base at the end-point (equivalence) lies below pH 7.
At equivalence, the solution contains the salt of a weak base: this is an acid (the conjugate acid of the weak base) and so the solution is acidic.

## Slide 23
The pH of a weak acid at the end-point (equivalence) lies above pH 7.
At equivalence, the solution contains the salt of a weak acid: this is a base (the conjugate base of the weak acid) and so the solution is basic.

## Slide 24: Procedure of HCL (Part 2)
Reagents:
1- Hydrochloric Acid (Reagent Grade).
2- Phenolphthalein Indicator
3- Standard NaOH Solution (0.1 M).

## Slide 25
1-Introduce approximately 10 ml of the HCL solution into flask, touch the burette tip to the inside of the flask each time and rinse down with a 10 ml of water, then add 3 drop of indicator.
2-Rinse a burette 2 times with 5 ml portions of a standard 0.1 M NaOH solution then through the waste.
4- Titrate with the standard NaOH solution until the faintest pink tinge persists for at least 30 seconds.
5- Calculate the Molarity of the HCL solution.
10 ml HCL
+
10 ml H2O
+
3 drops of indicator

## Slide 26: Calculation
NaOH +HCL NaCl + H2O
1 mole 1 mole
*1mole HCL = 1mole NaOH
M(HCL) x V(HCL) = M(NaOH) V(NaOH)
Molarity of HCL= M(NaOH) V from titration(NaOH) / V(HCL)
=0.1 x V from titration/ 10ml
= …….M